## FDA Subsets
Source | Subset | Concept Code | Source PT | Source Definition | Source Synonym(s)
FDA | Adverse_Event_Outcome_ICSR_Terminology | C49489 | Adverse Event Outcome |  | Outcome Attributed to Adverse Event
FDA | Adverse_Event_Outcome_ICSR_Terminology | C2849 | Congenital Defect/Deformity |  | Deformity/defect, congenital¦Defect/deformity, congenital
FDA | Adverse_Event_Outcome_ICSR_Terminology | C28554 | Death
FDA | Adverse_Event_Outcome_ICSR_Terminology | C21007 | Disability
FDA | Adverse_Event_Outcome_ICSR_Terminology | C25179 | Hospitalization
FDA | Adverse_Event_Outcome_ICSR_Terminology | C52668 | Intervention Required
FDA | Adverse_Event_Outcome_ICSR_Terminology | C50913 | Invalid Data
FDA | Adverse_Event_Outcome_ICSR_Terminology | C41337 | Life Threatening |  | Life Threatening Adverse Event
FDA | Adverse_Event_Outcome_ICSR_Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | Adverse_Event_Outcome_ICSR_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Adverse_Event_Outcome_ICSR_Terminology | C48660 | Not Applicable
FDA | Adverse_Event_Outcome_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Adverse_Event_Outcome_ICSR_Terminology | C60811 | Pediatric Death
FDA | Adverse_Event_Outcome_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Device_Usage_ICSR_Terminology | C53612 | Initial
FDA | Device_Usage_ICSR_Terminology | C53613 | Reuse
FDA | Device_Usage_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Device_Usage_ICSR_Terminology | C38046 | Unspecified
FDA | Device_Usage_ICSR_Terminology | C53645 | Usage of Device
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C16281 | Ambulatory Care Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51957 | Ambulatory Surgical Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51945 | Ambulatory Surgical Facility |  | Outpatient Clinic/Surgery
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51963 | Blood Bank
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51964 | Bloodmobile
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53510 | Cardiac Catheterization Suite |  | Catheterization Suite
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51967 | Chemotherapy Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51282 | Clinic - Walk in, Other
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53518 | Dialysis Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53512 | Dialysis Unit
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53519 | Drug Clinic
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53513 | Emergency Room
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53514 | Examination Room
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C51966 | Free-Standing Cardiac Catheterization Laboratory
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C18002 | Home
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53532 | Hospice
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C16696 | Hospital
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53521 | Imaging Center - Mobile
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53538 | In Transit to User/Medical Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53511 | Intensive Care Unit |  | Critical Care Unit
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C50913 | Invalid Data
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C37984 | Laboratory
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53551 | Laboratory or Pathology Department
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53509 | Location Where Event Occurred
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53530 | Long-Term Care Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53515 | Maternity Ward - Nursery
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53523 | Mobile Health Unit
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53524 | MRI Centers
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C48660 | Not Applicable
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53533 | Nursing Home
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53516 | Operating Room
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53541 | Outdoors
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53548 | Outpatient Diagnostic Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53549 | Outpatient Treatment Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53542 | Park
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53689 | Playground
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53564 | Psychiatric Center-Walk in, Other
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53536 | Psychiatric Facility
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53546 | Public Building
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53688 | Public Venue
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53517 | Radiology Department
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53535 | Rehabilitation Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53537 | Retirement Home
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C17118 | School
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53687 | Stationary Imaging Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C25690 | Street
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53525 | Tuberculosis Clinic
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53528 | Urgent Care Center
FDA | Location_Of_Event_Occurrence_ICSR_Terminology | C53552 | Ward or Patient Room
FDA | Occupation_ICSR_Terminology | C51959 | Attorney
FDA | Occupation_ICSR_Terminology | C51804 | Audiologist
FDA | Occupation_ICSR_Terminology | C51960 | Biomedical Engineer
FDA | Occupation_ICSR_Terminology | C53428 | Dental Assistant
FDA | Occupation_ICSR_Terminology | C53293 | Dental Hygienist
FDA | Occupation_ICSR_Terminology | C52654 | Dentist
FDA | Occupation_ICSR_Terminology | C28248 | Dietician
FDA | Occupation_ICSR_Terminology | C53417 | Emergency Medical Technician
FDA | Occupation_ICSR_Terminology | C53287 | Health Care Professional
FDA | Occupation_ICSR_Terminology | C53429 | Home Health Aid
FDA | Occupation_ICSR_Terminology | C53433 | Hospital Service Technician
FDA | Occupation_ICSR_Terminology | C50913 | Invalid Data
FDA | Occupation_ICSR_Terminology | C53430 | Medical Assistant
FDA | Occupation_ICSR_Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | Occupation_ICSR_Terminology | C53418 | Medical Technologist
FDA | Occupation_ICSR_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Occupation_ICSR_Terminology | C48660 | Not Applicable
FDA | Occupation_ICSR_Terminology | C53419 | Nuclear Medicine Technologist
FDA | Occupation_ICSR_Terminology | C20821 | Nurse
FDA | Occupation_ICSR_Terminology | C53431 | Nursing Assistant
FDA | Occupation_ICSR_Terminology | C25193 | Occupation
FDA | Occupation_ICSR_Terminology | C28174 | Occupational Therapist
FDA | Occupation_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Occupation_ICSR_Terminology | C53427 | Other Caregiver
FDA | Occupation_ICSR_Terminology | C53289 | Other Health Care Professional
FDA | Occupation_ICSR_Terminology | C53420 | Paramedic
FDA | Occupation_ICSR_Terminology | C51840 | Pharmacist
FDA | Occupation_ICSR_Terminology | C53421 | Phlebotomist
FDA | Occupation_ICSR_Terminology | C53422 | Physical Therapist
FDA | Occupation_ICSR_Terminology | C25741 | Physician
FDA | Occupation_ICSR_Terminology | C53423 | Physician Assistant
FDA | Occupation_ICSR_Terminology | C53446 | Physicist
FDA | Occupation_ICSR_Terminology | C53424 | Radiologic Technologist
FDA | Occupation_ICSR_Terminology | C53425 | Respiratory Therapist
FDA | Occupation_ICSR_Terminology | C53448 | Risk Manager
FDA | Occupation_ICSR_Terminology | C53441 | Service and Testing Personnel
FDA | Occupation_ICSR_Terminology | C53273 | Service Personnel
FDA | Occupation_ICSR_Terminology | C28247 | Speech Therapist
FDA | Occupation_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Operator_of_Medical_Device_ICSR_Terminology | C51804 | Audiologist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C51960 | Biomedical Engineer
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53428 | Dental Assistant
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53293 | Dental Hygienist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C52654 | Dentist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53274 | Device Unattended
FDA | Operator_of_Medical_Device_ICSR_Terminology | C28248 | Dietician
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53417 | Emergency Medical Technician
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53287 | Health Care Professional
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53429 | Home Health Aid
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53433 | Hospital Service Technician
FDA | Operator_of_Medical_Device_ICSR_Terminology | C50913 | Invalid Data
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53430 | Medical Assistant
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53418 | Medical Technologist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Operator_of_Medical_Device_ICSR_Terminology | C48660 | Not Applicable
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53419 | Nuclear Medicine Technologist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C20821 | Nurse
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53431 | Nursing Assistant
FDA | Operator_of_Medical_Device_ICSR_Terminology | C28174 | Occupational Therapist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53272 | Operator of Medical Device
FDA | Operator_of_Medical_Device_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53427 | Other Caregiver
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53289 | Other Health Care Professional
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53420 | Paramedic
FDA | Operator_of_Medical_Device_ICSR_Terminology | C16960 | Patient |  | Lay User/Patient
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53432 | Patient Family Member Or Friend
FDA | Operator_of_Medical_Device_ICSR_Terminology | C51840 | Pharmacist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53421 | Phlebotomist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53422 | Physical Therapist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C25741 | Physician
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53423 | Physician Assistant
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53446 | Physicist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53424 | Radiologic Technologist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53425 | Respiratory Therapist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53448 | Risk Manager
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53441 | Service and Testing Personnel
FDA | Operator_of_Medical_Device_ICSR_Terminology | C53273 | Service Personnel
FDA | Operator_of_Medical_Device_ICSR_Terminology | C28247 | Speech Therapist
FDA | Operator_of_Medical_Device_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C53601 | Device Evaluation Anticipated But Not Yet Begun
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C53599 | Device Not Made by Company
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C53600 | Device Problem Already Known No Evaluation Necessary
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C53598 | Device Received in Condition Which Made Analysis Impossible
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Reason_For_Non-Evaluation_ICSR_Terminology | C53593 | Reason for Non-Evaluation
FDA | Report_Source_ICSR_Terminology | C15206 | Clinical Study
FDA | Report_Source_ICSR_Terminology | C51968 | Company Representative
FDA | Report_Source_ICSR_Terminology | C53568 | Consumer
FDA | Report_Source_ICSR_Terminology | C48289 | Distributor
FDA | Report_Source_ICSR_Terminology | C25512 | Foreign
FDA | Report_Source_ICSR_Terminology | C53287 | Health Care Professional
FDA | Report_Source_ICSR_Terminology | C50913 | Invalid Data
FDA | Report_Source_ICSR_Terminology | C48471 | Literature
FDA | Report_Source_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Report_Source_ICSR_Terminology | C53566 | Report Source
FDA | Report_Source_ICSR_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Report_Source_ICSR_Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | Type_of_Event_ICSR_Terminology | C41331 | Adverse Event
FDA | Type_of_Event_ICSR_Terminology | C53054 | Product Problem
FDA | Type_of_Event_ICSR_Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | Type_Of_Follow-Up_ICSR_Terminology | C53586 | Additional Information
FDA | Type_Of_Follow-Up_ICSR_Terminology | C53585 | Correction
FDA | Type_Of_Follow-Up_ICSR_Terminology | C53588 | Device Evaluation
FDA | Type_Of_Follow-Up_ICSR_Terminology | C53587 | Response to FDA Request
FDA | Type_Of_Follow-Up_ICSR_Terminology | C53584 | Type of Follow-Up
FDA | Type_Of_Manufacturer_ICSR_Terminology | C53618 | Original Equipment Manufacturer |  | OEM
FDA | Type_Of_Manufacturer_ICSR_Terminology | C53614 | Reprocessor
FDA | Type_Of_Manufacturer_ICSR_Terminology | C54597 | Type Of Manufacturer
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53604 | Inspection
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C50913 | Invalid Data
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53606 | Modification or Adjustment
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C25297 | Notification
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53607 | Patient Monitoring
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53609 | Recall | Recalls are regulatory actions that enable FDA to remove a hazardous, potentially hazardous, or a misbranded product from the marketplace. Recalls are also used to convey additional information to the user concerning the safe use of the product. Either FDA or the manufacturer can initiate recalls.
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53608 | Relabeling
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53611 | Repair
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53610 | Replacement
FDA | Type_Of_Remedial_Action_ICSR_Terminology | C53603 | Type of Remedial Action
FDA | Type_Of_Report_ICSR_Terminology | C53580 | FDA Requested
FDA | Type_Of_Report_ICSR_Terminology | C53576 | Fifteen-Day
FDA | Type_Of_Report_ICSR_Terminology | C53573 | Five-Day
FDA | Type_Of_Report_ICSR_Terminology | C53579 | Follow-Up
FDA | Type_Of_Report_ICSR_Terminology | C53620 | Initial
FDA | Type_Of_Report_ICSR_Terminology | C53581 | Manufacturer Response to Voluntary Report
FDA | Type_Of_Report_ICSR_Terminology | C53578 | Periodic
FDA | Type_Of_Report_ICSR_Terminology | C53574 | Seven-Day
FDA | Type_Of_Report_ICSR_Terminology | C53575 | Ten-Day
FDA | Type_Of_Report_ICSR_Terminology | C53577 | Thirty-Day
FDA | Type_Of_Report_ICSR_Terminology | C53571 | Type of Report |  | Report Type
FDA | Type_of_Reportable_Event_ICSR_Terminology | C28554 | Death
FDA | Type_of_Reportable_Event_ICSR_Terminology | C25745 | Failure
FDA | Type_of_Reportable_Event_ICSR_Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | Type_of_Reportable_Event_ICSR_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Type_of_Reportable_Event_ICSR_Terminology | C60811 | Pediatric Death
FDA | Type_of_Reportable_Event_ICSR_Terminology | C53569 | Serious Injury
FDA | Type_of_Reportable_Event_ICSR_Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | Type_Of_Reporter_ICSR_Terminology | C53617 | Importer | Any person who imports a device into the United States and who furthers the marketing of a device from the original place of manufacture to the person who makes final delivery or sale to the ultimate user, but who does not repackage or otherwise change the container, wrapper, or labeling of the device or device package. If you repackage or otherwise change the container, wrapper, or labeling, you are considered a manufacturer as defined in this section.
FDA | Type_Of_Reporter_ICSR_Terminology | C53616 | Manufacturer
FDA | Type_Of_Reporter_ICSR_Terminology | C53615 | Type of Reporter |  | Reporter Type
FDA | Type_Of_Reporter_ICSR_Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | Individual_Case_Safety_Report_Terminology | C53586 | Additional Information
FDA | Individual_Case_Safety_Report_Terminology | C41331 | Adverse Event
FDA | Individual_Case_Safety_Report_Terminology | C49489 | Adverse Event Outcome |  | Outcome Attributed to Adverse Event
FDA | Individual_Case_Safety_Report_Terminology | C25150 | Age
FDA | Individual_Case_Safety_Report_Terminology | C16281 | Ambulatory Care Facility
FDA | Individual_Case_Safety_Report_Terminology | C51957 | Ambulatory Surgical Center
FDA | Individual_Case_Safety_Report_Terminology | C51945 | Ambulatory Surgical Facility |  | Outpatient Clinic/Surgery
FDA | Individual_Case_Safety_Report_Terminology | C53451 | Approximate Age of Device
FDA | Individual_Case_Safety_Report_Terminology | C51959 | Attorney
FDA | Individual_Case_Safety_Report_Terminology | C51804 | Audiologist
FDA | Individual_Case_Safety_Report_Terminology | C51960 | Biomedical Engineer
FDA | Individual_Case_Safety_Report_Terminology | C51963 | Blood Bank
FDA | Individual_Case_Safety_Report_Terminology | C51964 | Bloodmobile
FDA | Individual_Case_Safety_Report_Terminology | C53510 | Cardiac Catheterization Suite |  | Catheterization Suite
FDA | Individual_Case_Safety_Report_Terminology | C51967 | Chemotherapy Center
FDA | Individual_Case_Safety_Report_Terminology | C51282 | Clinic - Walk in, Other
FDA | Individual_Case_Safety_Report_Terminology | C15206 | Clinical Study
FDA | Individual_Case_Safety_Report_Terminology | C51968 | Company Representative
FDA | Individual_Case_Safety_Report_Terminology | C2849 | Congenital Defect/Deformity |  | Deformity/defect, congenital¦Defect/deformity, congenital
FDA | Individual_Case_Safety_Report_Terminology | C53568 | Consumer
FDA | Individual_Case_Safety_Report_Terminology | C53585 | Correction
FDA | Individual_Case_Safety_Report_Terminology | C53619 | Corrective Action Number
FDA | Individual_Case_Safety_Report_Terminology | C25464 | Country
FDA | Individual_Case_Safety_Report_Terminology | C53486 | Date of Concomitant Therapy
FDA | Individual_Case_Safety_Report_Terminology | C53481 | Date of Device Return to Manufacturer
FDA | Individual_Case_Safety_Report_Terminology | C28554 | Death
FDA | Individual_Case_Safety_Report_Terminology | C53428 | Dental Assistant
FDA | Individual_Case_Safety_Report_Terminology | C53293 | Dental Hygienist
FDA | Individual_Case_Safety_Report_Terminology | C52654 | Dentist
FDA | Individual_Case_Safety_Report_Terminology | C53449 | Device Available for Evaluation
FDA | Individual_Case_Safety_Report_Terminology | C53588 | Device Evaluation
FDA | Individual_Case_Safety_Report_Terminology | C53601 | Device Evaluation Anticipated But Not Yet Begun
FDA | Individual_Case_Safety_Report_Terminology | C53602 | Device Labeled for Single Use
FDA | Individual_Case_Safety_Report_Terminology | C53599 | Device Not Made by Company
FDA | Individual_Case_Safety_Report_Terminology | C54026 | Device Problem
FDA | Individual_Case_Safety_Report_Terminology | C53600 | Device Problem Already Known No Evaluation Necessary
FDA | Individual_Case_Safety_Report_Terminology | C53598 | Device Received in Condition Which Made Analysis Impossible
FDA | Individual_Case_Safety_Report_Terminology | C53591 | Device Returned to Manufacturer for Evaluation
FDA | Individual_Case_Safety_Report_Terminology | C53274 | Device Unattended
FDA | Individual_Case_Safety_Report_Terminology | C53518 | Dialysis Center
FDA | Individual_Case_Safety_Report_Terminology | C53512 | Dialysis Unit
FDA | Individual_Case_Safety_Report_Terminology | C28248 | Dietician
FDA | Individual_Case_Safety_Report_Terminology | C21007 | Disability
FDA | Individual_Case_Safety_Report_Terminology | C48289 | Distributor
FDA | Individual_Case_Safety_Report_Terminology | C53519 | Drug Clinic
FDA | Individual_Case_Safety_Report_Terminology | C53417 | Emergency Medical Technician
FDA | Individual_Case_Safety_Report_Terminology | C53513 | Emergency Room
FDA | Individual_Case_Safety_Report_Terminology | C53592 | Evaluation Summary Status
FDA | Individual_Case_Safety_Report_Terminology | C53514 | Examination Room
FDA | Individual_Case_Safety_Report_Terminology | C25745 | Failure
FDA | Individual_Case_Safety_Report_Terminology | C53580 | FDA Requested
FDA | Individual_Case_Safety_Report_Terminology | C16576 | Female
FDA | Individual_Case_Safety_Report_Terminology | C53576 | Fifteen-Day
FDA | Individual_Case_Safety_Report_Terminology | C53573 | Five-Day
FDA | Individual_Case_Safety_Report_Terminology | C53579 | Follow-Up
FDA | Individual_Case_Safety_Report_Terminology | C25512 | Foreign
FDA | Individual_Case_Safety_Report_Terminology | C51966 | Free-Standing Cardiac Catheterization Laboratory
FDA | Individual_Case_Safety_Report_Terminology | C53287 | Health Care Professional
FDA | Individual_Case_Safety_Report_Terminology | C18002 | Home
FDA | Individual_Case_Safety_Report_Terminology | C53429 | Home Health Aid
FDA | Individual_Case_Safety_Report_Terminology | C53532 | Hospice
FDA | Individual_Case_Safety_Report_Terminology | C16696 | Hospital
FDA | Individual_Case_Safety_Report_Terminology | C53433 | Hospital Service Technician
FDA | Individual_Case_Safety_Report_Terminology | C25179 | Hospitalization
FDA | Individual_Case_Safety_Report_Terminology | C50414 | Hospitalization Required |  | Required hospitalization
FDA | Individual_Case_Safety_Report_Terminology | C53521 | Imaging Center - Mobile
FDA | Individual_Case_Safety_Report_Terminology | C53617 | Importer | Any person who imports a device into the United States and who furthers the marketing of a device from the original place of manufacture to the person who makes final delivery or sale to the ultimate user, but who does not repackage or otherwise change the container, wrapper, or labeling of the device or device package. If you repackage or otherwise change the container, wrapper, or labeling, you are considered a manufacturer as defined in this section.
FDA | Individual_Case_Safety_Report_Terminology | C53538 | In Transit to User/Medical Facility
FDA | Individual_Case_Safety_Report_Terminology | C53612 | Initial
FDA | Individual_Case_Safety_Report_Terminology | C53620 | Initial
FDA | Individual_Case_Safety_Report_Terminology | C53604 | Inspection
FDA | Individual_Case_Safety_Report_Terminology | C53511 | Intensive Care Unit |  | Critical Care Unit
FDA | Individual_Case_Safety_Report_Terminology | C52668 | Intervention Required
FDA | Individual_Case_Safety_Report_Terminology | C50913 | Invalid Data
FDA | Individual_Case_Safety_Report_Terminology | C37984 | Laboratory
FDA | Individual_Case_Safety_Report_Terminology | C53551 | Laboratory or Pathology Department
FDA | Individual_Case_Safety_Report_Terminology | C41337 | Life Threatening |  | Life Threatening Adverse Event
FDA | Individual_Case_Safety_Report_Terminology | C48471 | Literature
FDA | Individual_Case_Safety_Report_Terminology | C53509 | Location Where Event Occurred
FDA | Individual_Case_Safety_Report_Terminology | C53530 | Long-Term Care Facility
FDA | Individual_Case_Safety_Report_Terminology | C20197 | Male
FDA | Individual_Case_Safety_Report_Terminology | C53616 | Manufacturer
FDA | Individual_Case_Safety_Report_Terminology | C53581 | Manufacturer Response to Voluntary Report
FDA | Individual_Case_Safety_Report_Terminology | C53515 | Maternity Ward - Nursery
FDA | Individual_Case_Safety_Report_Terminology | C53430 | Medical Assistant
FDA | Individual_Case_Safety_Report_Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | Individual_Case_Safety_Report_Terminology | C54027 | Medical Problem |  | Patient Problem Code¦Patient Problem
FDA | Individual_Case_Safety_Report_Terminology | C53418 | Medical Technologist
FDA | Individual_Case_Safety_Report_Terminology | C53523 | Mobile Health Unit
FDA | Individual_Case_Safety_Report_Terminology | C53606 | Modification or Adjustment
FDA | Individual_Case_Safety_Report_Terminology | C53524 | MRI Centers
FDA | Individual_Case_Safety_Report_Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | Individual_Case_Safety_Report_Terminology | C49487 | No
FDA | Individual_Case_Safety_Report_Terminology | C53269 | No Information Available |  | No Answer Provided
FDA | Individual_Case_Safety_Report_Terminology | C48660 | Not Applicable
FDA | Individual_Case_Safety_Report_Terminology | C25297 | Notification
FDA | Individual_Case_Safety_Report_Terminology | C53419 | Nuclear Medicine Technologist
FDA | Individual_Case_Safety_Report_Terminology | C20821 | Nurse
FDA | Individual_Case_Safety_Report_Terminology | C53431 | Nursing Assistant
FDA | Individual_Case_Safety_Report_Terminology | C53533 | Nursing Home
FDA | Individual_Case_Safety_Report_Terminology | C25193 | Occupation
FDA | Individual_Case_Safety_Report_Terminology | C28174 | Occupational Therapist
FDA | Individual_Case_Safety_Report_Terminology | C53516 | Operating Room
FDA | Individual_Case_Safety_Report_Terminology | C53272 | Operator of Medical Device
FDA | Individual_Case_Safety_Report_Terminology | C53618 | Original Equipment Manufacturer |  | OEM
FDA | Individual_Case_Safety_Report_Terminology | C17649 | Other |  | Other¦Other¦Other (For Use When An Appropriate Patient Code Cannot Be Identified)
FDA | Individual_Case_Safety_Report_Terminology | C53427 | Other Caregiver
FDA | Individual_Case_Safety_Report_Terminology | C53289 | Other Health Care Professional
FDA | Individual_Case_Safety_Report_Terminology | C53263 | Other Personal Medical History
FDA | Individual_Case_Safety_Report_Terminology | C53541 | Outdoors
FDA | Individual_Case_Safety_Report_Terminology | C53548 | Outpatient Diagnostic Facility
FDA | Individual_Case_Safety_Report_Terminology | C53549 | Outpatient Treatment Facility
FDA | Individual_Case_Safety_Report_Terminology | C53420 | Paramedic
FDA | Individual_Case_Safety_Report_Terminology | C53542 | Park
FDA | Individual_Case_Safety_Report_Terminology | C16960 | Patient |  | Lay User/Patient
FDA | Individual_Case_Safety_Report_Terminology | C53432 | Patient Family Member Or Friend
FDA | Individual_Case_Safety_Report_Terminology | C53607 | Patient Monitoring
FDA | Individual_Case_Safety_Report_Terminology | C60811 | Pediatric Death
FDA | Individual_Case_Safety_Report_Terminology | C53578 | Periodic
FDA | Individual_Case_Safety_Report_Terminology | C51840 | Pharmacist
FDA | Individual_Case_Safety_Report_Terminology | C53421 | Phlebotomist
FDA | Individual_Case_Safety_Report_Terminology | C53422 | Physical Therapist
FDA | Individual_Case_Safety_Report_Terminology | C25741 | Physician
FDA | Individual_Case_Safety_Report_Terminology | C53423 | Physician Assistant
FDA | Individual_Case_Safety_Report_Terminology | C53446 | Physicist
FDA | Individual_Case_Safety_Report_Terminology | C53689 | Playground
FDA | Individual_Case_Safety_Report_Terminology | C53054 | Product Problem
FDA | Individual_Case_Safety_Report_Terminology | C53564 | Psychiatric Center-Walk in, Other
FDA | Individual_Case_Safety_Report_Terminology | C53536 | Psychiatric Facility
FDA | Individual_Case_Safety_Report_Terminology | C53546 | Public Building
FDA | Individual_Case_Safety_Report_Terminology | C53688 | Public Venue
FDA | Individual_Case_Safety_Report_Terminology | C17049 | Race
FDA | Individual_Case_Safety_Report_Terminology | C53424 | Radiologic Technologist
FDA | Individual_Case_Safety_Report_Terminology | C53517 | Radiology Department
FDA | Individual_Case_Safety_Report_Terminology | C53593 | Reason for Non-Evaluation
FDA | Individual_Case_Safety_Report_Terminology | C53609 | Recall | Recalls are regulatory actions that enable FDA to remove a hazardous, potentially hazardous, or a misbranded product from the marketplace. Recalls are also used to convey additional information to the user concerning the safe use of the product. Either FDA or the manufacturer can initiate recalls.
FDA | Individual_Case_Safety_Report_Terminology | C53535 | Rehabilitation Center
FDA | Individual_Case_Safety_Report_Terminology | C53608 | Relabeling
FDA | Individual_Case_Safety_Report_Terminology | C53611 | Repair
FDA | Individual_Case_Safety_Report_Terminology | C53610 | Replacement
FDA | Individual_Case_Safety_Report_Terminology | C53566 | Report Source
FDA | Individual_Case_Safety_Report_Terminology | C53614 | Reprocessor
FDA | Individual_Case_Safety_Report_Terminology | C53425 | Respiratory Therapist
FDA | Individual_Case_Safety_Report_Terminology | C53587 | Response to FDA Request
FDA | Individual_Case_Safety_Report_Terminology | C53537 | Retirement Home
FDA | Individual_Case_Safety_Report_Terminology | C53613 | Reuse
FDA | Individual_Case_Safety_Report_Terminology | C53448 | Risk Manager
FDA | Individual_Case_Safety_Report_Terminology | C17118 | School
FDA | Individual_Case_Safety_Report_Terminology | C53569 | Serious Injury
FDA | Individual_Case_Safety_Report_Terminology | C53441 | Service and Testing Personnel
FDA | Individual_Case_Safety_Report_Terminology | C53273 | Service Personnel
FDA | Individual_Case_Safety_Report_Terminology | C53574 | Seven-Day
FDA | Individual_Case_Safety_Report_Terminology | C28421 | Sex
FDA | Individual_Case_Safety_Report_Terminology | C53563 | Single Use and Reused
FDA | Individual_Case_Safety_Report_Terminology | C28247 | Speech Therapist
FDA | Individual_Case_Safety_Report_Terminology | C53687 | Stationary Imaging Center
FDA | Individual_Case_Safety_Report_Terminology | C25690 | Street
FDA | Individual_Case_Safety_Report_Terminology | C53575 | Ten-Day
FDA | Individual_Case_Safety_Report_Terminology | C36292 | Test Result
FDA | Individual_Case_Safety_Report_Terminology | C53577 | Thirty-Day
FDA | Individual_Case_Safety_Report_Terminology | C53525 | Tuberculosis Clinic
FDA | Individual_Case_Safety_Report_Terminology | C53265 | Type of Device
FDA | Individual_Case_Safety_Report_Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | Individual_Case_Safety_Report_Terminology | C53584 | Type of Follow-Up
FDA | Individual_Case_Safety_Report_Terminology | C54597 | Type Of Manufacturer
FDA | Individual_Case_Safety_Report_Terminology | C53603 | Type of Remedial Action
FDA | Individual_Case_Safety_Report_Terminology | C53571 | Type of Report |  | Report Type
FDA | Individual_Case_Safety_Report_Terminology | C53615 | Type of Reporter |  | Reporter Type
FDA | Individual_Case_Safety_Report_Terminology | C17998 | Unknown |  | Unknown (For Use When The Patients Condition Is Not Known)
FDA | Individual_Case_Safety_Report_Terminology | C38046 | Unspecified
FDA | Individual_Case_Safety_Report_Terminology | C53528 | Urgent Care Center
FDA | Individual_Case_Safety_Report_Terminology | C53645 | Usage of Device
FDA | Individual_Case_Safety_Report_Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | Individual_Case_Safety_Report_Terminology | C53552 | Ward or Patient Room
FDA | Individual_Case_Safety_Report_Terminology | C25208 | Weight
FDA | Individual_Case_Safety_Report_Terminology | C49488 | Yes