## FDA ICSR Subsets
Source | Subset Code | Subset Name | Concept Code | Source PT | Source Definition | Source Synonym(s)
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C49489 | Adverse Event Outcome |  | Outcome Attributed to Adverse Event
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C2849 | CONGENITAL DEFECT/DEFORMITY |  | DEFECT/DEFORMITY, CONGENITAL¦DEFORMITY/DEFECT, CONGENITAL
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C28554 | DEATH |  | EXPIRED/DEATH¦DIED
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C21007 | DISABILITY
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C25179 | Hospitalization
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C52668 | Intervention Required
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C50913 | Invalid Data
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C41337 | Life Threatening |  | Life Threatening Adverse Event
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C60811 | Pediatric Death
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54595 | Device Usage ICSR Terminology | C53612 | Initial
FDA | C54595 | Device Usage ICSR Terminology | C53613 | Reuse
FDA | C54595 | Device Usage ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54595 | Device Usage ICSR Terminology | C38046 | Unspecified
FDA | C54595 | Device Usage ICSR Terminology | C53645 | Usage of Device
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C16281 | Ambulatory Care Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51957 | Ambulatory Surgical Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51945 | Ambulatory Surgical Facility |  | Outpatient Clinic/Surgery
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51963 | Blood Bank
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51964 | Bloodmobile
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53510 | Cardiac Catheterization Suite |  | Catheterization Suite
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51967 | Chemotherapy Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51282 | Clinic - Walk in, Other
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53518 | Dialysis Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53512 | Dialysis Unit
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53519 | Drug Clinic
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53513 | Emergency Room
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53514 | Examination Room
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C51966 | Free-Standing Cardiac Catheterization Laboratory
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C18002 | Home
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53532 | Hospice
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C16696 | Hospital
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53521 | Imaging Center - Mobile
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53538 | In Transit to User/Medical Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53511 | Intensive Care Unit |  | Critical Care Unit
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C50913 | Invalid Data
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C37984 | Laboratory
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53551 | Laboratory or Pathology Department
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53509 | Location Where Event Occurred
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53530 | Long-Term Care Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53515 | Maternity Ward - Nursery
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53523 | Mobile Health Unit
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53524 | MRI Center |  | MRI Centers
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53533 | Nursing Home
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53516 | Operating Room
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53541 | Outdoors
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53548 | Outpatient Diagnostic Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53549 | Outpatient Treatment Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53542 | Park
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53689 | Playground
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53564 | Psychiatric Center-Walk in, Other
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53536 | Psychiatric Facility
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53546 | Public Building
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53688 | Public Venue
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53517 | Radiology Department
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53535 | Rehabilitation Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53537 | Retirement Home
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C17118 | School
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53687 | Stationary Imaging Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C25690 | Street
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53525 | Tuberculosis Clinic
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53528 | Urgent Care Center
FDA | C54590 | Location Of Event Occurrence ICSR Terminology | C53552 | Ward or Patient Room
FDA | C54585 | Occupation ICSR Terminology | C51959 | Attorney
FDA | C54585 | Occupation ICSR Terminology | C51804 | Audiologist
FDA | C54585 | Occupation ICSR Terminology | C51960 | Biomedical Engineer
FDA | C54585 | Occupation ICSR Terminology | C53428 | Dental Assistant
FDA | C54585 | Occupation ICSR Terminology | C53293 | Dental Hygienist
FDA | C54585 | Occupation ICSR Terminology | C52654 | Dentist
FDA | C54585 | Occupation ICSR Terminology | C28248 | Dietician
FDA | C54585 | Occupation ICSR Terminology | C53417 | Emergency Medical Technician
FDA | C54585 | Occupation ICSR Terminology | C53287 | Health Care Professional
FDA | C54585 | Occupation ICSR Terminology | C53429 | Home Health Aid
FDA | C54585 | Occupation ICSR Terminology | C53433 | Hospital Service Technician
FDA | C54585 | Occupation ICSR Terminology | C50913 | Invalid Data
FDA | C54585 | Occupation ICSR Terminology | C53430 | Medical Assistant
FDA | C54585 | Occupation ICSR Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | C54585 | Occupation ICSR Terminology | C53418 | Medical Technologist
FDA | C54585 | Occupation ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54585 | Occupation ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54585 | Occupation ICSR Terminology | C53419 | Nuclear Medicine Technologist
FDA | C54585 | Occupation ICSR Terminology | C20821 | Nurse
FDA | C54585 | Occupation ICSR Terminology | C53431 | Nursing Assistant
FDA | C54585 | Occupation ICSR Terminology | C25193 | Occupation
FDA | C54585 | Occupation ICSR Terminology | C28174 | Occupational Therapist
FDA | C54585 | Occupation ICSR Terminology | C53427 | Other Caregiver
FDA | C54585 | Occupation ICSR Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL |  | Other Health Care Professional
FDA | C54585 | Occupation ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54585 | Occupation ICSR Terminology | C53420 | Paramedic
FDA | C54585 | Occupation ICSR Terminology | C51840 | Pharmacist
FDA | C54585 | Occupation ICSR Terminology | C53421 | Phlebotomist
FDA | C54585 | Occupation ICSR Terminology | C53422 | Physical Therapist
FDA | C54585 | Occupation ICSR Terminology | C25741 | PHYSICIAN |  | Physician
FDA | C54585 | Occupation ICSR Terminology | C53423 | Physician Assistant
FDA | C54585 | Occupation ICSR Terminology | C53446 | Physicist
FDA | C54585 | Occupation ICSR Terminology | C53424 | Radiologic Technologist
FDA | C54585 | Occupation ICSR Terminology | C53425 | Respiratory Therapist
FDA | C54585 | Occupation ICSR Terminology | C53448 | Risk Manager
FDA | C54585 | Occupation ICSR Terminology | C53441 | Service and Testing Personnel
FDA | C54585 | Occupation ICSR Terminology | C53273 | Service Personnel
FDA | C54585 | Occupation ICSR Terminology | C19177 | Speech Therapist |  | Unknown
FDA | C54585 | Occupation ICSR Terminology | C17998 | UNKNOWN
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51804 | Audiologist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51960 | Biomedical Engineer
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53428 | Dental Assistant
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53293 | Dental Hygienist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C52654 | Dentist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53274 | Device Unattended
FDA | C54584 | Operator of Medical Device ICSR Terminology | C28248 | Dietician
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53417 | Emergency Medical Technician
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53287 | Health Care Professional
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53429 | Home Health Aid
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53433 | Hospital Service Technician
FDA | C54584 | Operator of Medical Device ICSR Terminology | C50913 | Invalid Data
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53430 | Medical Assistant
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53418 | Medical Technologist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54584 | Operator of Medical Device ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53419 | Nuclear Medicine Technologist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C20821 | Nurse
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53431 | Nursing Assistant
FDA | C54584 | Operator of Medical Device ICSR Terminology | C28174 | Occupational Therapist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53272 | Operator of Medical Device
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53427 | Other Caregiver
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL |  | Other Health Care Professional
FDA | C54584 | Operator of Medical Device ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53420 | Paramedic
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53432 | Patient Family Member Or Friend
FDA | C54584 | Operator of Medical Device ICSR Terminology | C16960 | PATIENT |  | Lay User/Patient¦Patient
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51840 | Pharmacist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53421 | Phlebotomist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53422 | Physical Therapist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C25741 | PHYSICIAN |  | Physician
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53423 | Physician Assistant
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53446 | Physicist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53424 | Radiologic Technologist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53425 | Respiratory Therapist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53448 | Risk Manager
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53441 | Service and Testing Personnel
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53273 | Service Personnel
FDA | C54584 | Operator of Medical Device ICSR Terminology | C19177 | Speech Therapist
FDA | C54584 | Operator of Medical Device ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C53601 | Device Evaluation Anticipated But Not Yet Begun
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C53599 | Device Not Made by Company
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C53600 | Device Problem Already Known No Evaluation Necessary
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C53598 | Device Received in Condition Which Made Analysis Impossible
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54593 | Reason For Non-Evaluation ICSR Terminology | C53593 | Reason for Non-Evaluation
FDA | C54587 | Report Source ICSR Terminology | C15206 | Clinical Study
FDA | C54587 | Report Source ICSR Terminology | C51968 | Company Representative
FDA | C54587 | Report Source ICSR Terminology | C53568 | CONSUMER/CONCERNED CITIZEN |  | Consumer
FDA | C54587 | Report Source ICSR Terminology | C48289 | Distributor
FDA | C54587 | Report Source ICSR Terminology | C25512 | Foreign
FDA | C54587 | Report Source ICSR Terminology | C53287 | Health Care Professional
FDA | C54587 | Report Source ICSR Terminology | C50913 | Invalid Data
FDA | C54587 | Report Source ICSR Terminology | C48471 | Literature
FDA | C54587 | Report Source ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54587 | Report Source ICSR Terminology | C53566 | Report Source
FDA | C54587 | Report Source ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54587 | Report Source ICSR Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | C54580 | Type of Event ICSR Terminology | C41331 | Adverse Event
FDA | C54580 | Type of Event ICSR Terminology | C53054 | Product Problem
FDA | C54580 | Type of Event ICSR Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | C54592 | Type Of Follow-Up ICSR Terminology | C53586 | Additional Information
FDA | C54592 | Type Of Follow-Up ICSR Terminology | C53585 | Correction
FDA | C54592 | Type Of Follow-Up ICSR Terminology | C53588 | Device Evaluation
FDA | C54592 | Type Of Follow-Up ICSR Terminology | C53587 | Response to FDA Request
FDA | C54592 | Type Of Follow-Up ICSR Terminology | C53584 | Type of Follow-Up
FDA | C54598 | Type Of Manufacturer ICSR Terminology | C53618 | Original Equipment Manufacturer
FDA | C54598 | Type Of Manufacturer ICSR Terminology | C53614 | Reprocessor
FDA | C54598 | Type Of Manufacturer ICSR Terminology | C54597 | Type Of Manufacturer
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53604 | Inspection
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C50913 | Invalid Data
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53606 | Modification or Adjustment
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C25297 | Notification
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53607 | Patient Monitoring
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53609 | Recall | Recalls are regulatory actions that enable FDA to remove a hazardous, potentially hazardous, or a misbranded product from the marketplace. Recalls are also used to convey additional information to the user concerning the safe use of the product. Either FDA or the manufacturer can initiate recalls.
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53608 | Relabeling
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53611 | Repair
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53610 | Replacement
FDA | C54594 | Type Of Remedial Action ICSR Terminology | C53603 | Type of Remedial Action
FDA | C54588 | Type Of Report ICSR Terminology | C53580 | FDA Requested
FDA | C54588 | Type Of Report ICSR Terminology | C53576 | Fifteen-Day
FDA | C54588 | Type Of Report ICSR Terminology | C53573 | Five-Day
FDA | C54588 | Type Of Report ICSR Terminology | C53579 | FOLLOW-UP |  | Follow-Up
FDA | C54588 | Type Of Report ICSR Terminology | C53620 | Initial
FDA | C54588 | Type Of Report ICSR Terminology | C53581 | Manufacturer Response to Voluntary Report
FDA | C54588 | Type Of Report ICSR Terminology | C53578 | PERIODIC |  | Periodic
FDA | C54588 | Type Of Report ICSR Terminology | C53574 | Seven-Day
FDA | C54588 | Type Of Report ICSR Terminology | C53575 | Ten-Day
FDA | C54588 | Type Of Report ICSR Terminology | C53577 | Thirty-Day
FDA | C54588 | Type Of Report ICSR Terminology | C53571 | Type of Report |  | Report Type
FDA | C54591 | Type of Reportable Event ICSR Terminology | C28554 | DEATH |  | EXPIRED/DEATH¦DIED
FDA | C54591 | Type of Reportable Event ICSR Terminology | C25745 | Failure
FDA | C54591 | Type of Reportable Event ICSR Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | C54591 | Type of Reportable Event ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54591 | Type of Reportable Event ICSR Terminology | C60811 | Pediatric Death
FDA | C54591 | Type of Reportable Event ICSR Terminology | C53569 | Serious Injury
FDA | C54591 | Type of Reportable Event ICSR Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | C54596 | Type Of Reporter ICSR Terminology | C53617 | Importer | Any person who imports a device into the United States and who furthers the marketing of a device from the original place of manufacture to the person who makes final delivery or sale to the ultimate user, but who does not repackage or otherwise change the container, wrapper, or labeling of the device or device package. If you repackage or otherwise change the container, wrapper, or labeling, you are considered a manufacturer as defined in this section.
FDA | C54596 | Type Of Reporter ICSR Terminology | C25392 | Manufacturer | Manufacturer means any person who manufactures, prepares, propagates, compounds, assembles, or processes a device by chemical, physical, biological, or other procedure.
FDA | C54596 | Type Of Reporter ICSR Terminology | C53615 | Type of Reporter |  | Reporter Type
FDA | C54596 | Type Of Reporter ICSR Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | C54447 | Individual Case Safety Report Terminology | C53586 | Additional Information
FDA | C54447 | Individual Case Safety Report Terminology | C41331 | Adverse Event
FDA | C54447 | Individual Case Safety Report Terminology | C49489 | Adverse Event Outcome |  | Outcome Attributed to Adverse Event
FDA | C54447 | Individual Case Safety Report Terminology | C25150 | Age
FDA | C54447 | Individual Case Safety Report Terminology | C16281 | Ambulatory Care Facility
FDA | C54447 | Individual Case Safety Report Terminology | C51957 | Ambulatory Surgical Center
FDA | C54447 | Individual Case Safety Report Terminology | C51945 | Ambulatory Surgical Facility |  | Outpatient Clinic/Surgery
FDA | C54447 | Individual Case Safety Report Terminology | C53451 | Approximate Age of Device
FDA | C54447 | Individual Case Safety Report Terminology | C51959 | Attorney
FDA | C54447 | Individual Case Safety Report Terminology | C51804 | Audiologist
FDA | C54447 | Individual Case Safety Report Terminology | C51960 | Biomedical Engineer
FDA | C54447 | Individual Case Safety Report Terminology | C51963 | Blood Bank
FDA | C54447 | Individual Case Safety Report Terminology | C51964 | Bloodmobile
FDA | C54447 | Individual Case Safety Report Terminology | C53510 | Cardiac Catheterization Suite |  | Catheterization Suite
FDA | C54447 | Individual Case Safety Report Terminology | C51967 | Chemotherapy Center
FDA | C54447 | Individual Case Safety Report Terminology | C51282 | Clinic - Walk in, Other
FDA | C54447 | Individual Case Safety Report Terminology | C15206 | Clinical Study
FDA | C54447 | Individual Case Safety Report Terminology | C51968 | Company Representative
FDA | C54447 | Individual Case Safety Report Terminology | C2849 | CONGENITAL DEFECT/DEFORMITY |  | DEFECT/DEFORMITY, CONGENITAL¦DEFORMITY/DEFECT, CONGENITAL
FDA | C54447 | Individual Case Safety Report Terminology | C53568 | CONSUMER/CONCERNED CITIZEN |  | Consumer
FDA | C54447 | Individual Case Safety Report Terminology | C53585 | Correction
FDA | C54447 | Individual Case Safety Report Terminology | C53619 | Corrective Action Number
FDA | C54447 | Individual Case Safety Report Terminology | C25464 | Country
FDA | C54447 | Individual Case Safety Report Terminology | C53486 | Date of Concomitant Therapy
FDA | C54447 | Individual Case Safety Report Terminology | C53481 | Date of Device Return to Manufacturer
FDA | C54447 | Individual Case Safety Report Terminology | C28554 | DEATH |  | EXPIRED/DEATH¦DIED
FDA | C54447 | Individual Case Safety Report Terminology | C53428 | Dental Assistant
FDA | C54447 | Individual Case Safety Report Terminology | C53293 | Dental Hygienist
FDA | C54447 | Individual Case Safety Report Terminology | C52654 | Dentist
FDA | C54447 | Individual Case Safety Report Terminology | C53449 | Device Available for Evaluation
FDA | C54447 | Individual Case Safety Report Terminology | C53588 | Device Evaluation
FDA | C54447 | Individual Case Safety Report Terminology | C53601 | Device Evaluation Anticipated But Not Yet Begun
FDA | C54447 | Individual Case Safety Report Terminology | C53602 | Device Labeled for Single Use
FDA | C54447 | Individual Case Safety Report Terminology | C53599 | Device Not Made by Company
FDA | C54447 | Individual Case Safety Report Terminology | C54026 | Device Problem
FDA | C54447 | Individual Case Safety Report Terminology | C53600 | Device Problem Already Known No Evaluation Necessary
FDA | C54447 | Individual Case Safety Report Terminology | C53598 | Device Received in Condition Which Made Analysis Impossible
FDA | C54447 | Individual Case Safety Report Terminology | C53591 | Device Returned to Manufacturer for Evaluation
FDA | C54447 | Individual Case Safety Report Terminology | C53274 | Device Unattended
FDA | C54447 | Individual Case Safety Report Terminology | C53518 | Dialysis Center
FDA | C54447 | Individual Case Safety Report Terminology | C53512 | Dialysis Unit
FDA | C54447 | Individual Case Safety Report Terminology | C28248 | Dietician
FDA | C54447 | Individual Case Safety Report Terminology | C21007 | DISABILITY
FDA | C54447 | Individual Case Safety Report Terminology | C48289 | Distributor
FDA | C54447 | Individual Case Safety Report Terminology | C53519 | Drug Clinic
FDA | C54447 | Individual Case Safety Report Terminology | C53417 | Emergency Medical Technician
FDA | C54447 | Individual Case Safety Report Terminology | C53513 | Emergency Room
FDA | C54447 | Individual Case Safety Report Terminology | C53592 | Evaluation Summary Status
FDA | C54447 | Individual Case Safety Report Terminology | C53514 | Examination Room
FDA | C54447 | Individual Case Safety Report Terminology | C25745 | Failure
FDA | C54447 | Individual Case Safety Report Terminology | C53580 | FDA Requested
FDA | C54447 | Individual Case Safety Report Terminology | C16576 | Female
FDA | C54447 | Individual Case Safety Report Terminology | C53576 | Fifteen-Day
FDA | C54447 | Individual Case Safety Report Terminology | C53573 | Five-Day
FDA | C54447 | Individual Case Safety Report Terminology | C53579 | FOLLOW-UP |  | Follow-Up
FDA | C54447 | Individual Case Safety Report Terminology | C25512 | Foreign
FDA | C54447 | Individual Case Safety Report Terminology | C51966 | Free-Standing Cardiac Catheterization Laboratory
FDA | C54447 | Individual Case Safety Report Terminology | C53287 | Health Care Professional
FDA | C54447 | Individual Case Safety Report Terminology | C18002 | Home
FDA | C54447 | Individual Case Safety Report Terminology | C53429 | Home Health Aid
FDA | C54447 | Individual Case Safety Report Terminology | C53532 | Hospice
FDA | C54447 | Individual Case Safety Report Terminology | C16696 | Hospital
FDA | C54447 | Individual Case Safety Report Terminology | C53433 | Hospital Service Technician
FDA | C54447 | Individual Case Safety Report Terminology | C25179 | Hospitalization
FDA | C54447 | Individual Case Safety Report Terminology | C50414 | Hospitalization required
FDA | C54447 | Individual Case Safety Report Terminology | C53521 | Imaging Center - Mobile
FDA | C54447 | Individual Case Safety Report Terminology | C53617 | Importer | Any person who imports a device into the United States and who furthers the marketing of a device from the original place of manufacture to the person who makes final delivery or sale to the ultimate user, but who does not repackage or otherwise change the container, wrapper, or labeling of the device or device package. If you repackage or otherwise change the container, wrapper, or labeling, you are considered a manufacturer as defined in this section.
FDA | C54447 | Individual Case Safety Report Terminology | C53538 | In Transit to User/Medical Facility
FDA | C54447 | Individual Case Safety Report Terminology | C53620 | Initial
FDA | C54447 | Individual Case Safety Report Terminology | C53612 | Initial
FDA | C54447 | Individual Case Safety Report Terminology | C53604 | Inspection
FDA | C54447 | Individual Case Safety Report Terminology | C53511 | Intensive Care Unit |  | Critical Care Unit
FDA | C54447 | Individual Case Safety Report Terminology | C52668 | Intervention Required
FDA | C54447 | Individual Case Safety Report Terminology | C50913 | Invalid Data
FDA | C54447 | Individual Case Safety Report Terminology | C37984 | Laboratory
FDA | C54447 | Individual Case Safety Report Terminology | C53551 | Laboratory or Pathology Department
FDA | C54447 | Individual Case Safety Report Terminology | C41337 | Life Threatening |  | Life Threatening Adverse Event
FDA | C54447 | Individual Case Safety Report Terminology | C48471 | Literature
FDA | C54447 | Individual Case Safety Report Terminology | C53509 | Location Where Event Occurred
FDA | C54447 | Individual Case Safety Report Terminology | C53530 | Long-Term Care Facility
FDA | C54447 | Individual Case Safety Report Terminology | C20197 | Male
FDA | C54447 | Individual Case Safety Report Terminology | C25392 | Manufacturer | Manufacturer means any person who manufactures, prepares, propagates, compounds, assembles, or processes a device by chemical, physical, biological, or other procedure.
FDA | C54447 | Individual Case Safety Report Terminology | C53581 | Manufacturer Response to Voluntary Report
FDA | C54447 | Individual Case Safety Report Terminology | C53515 | Maternity Ward - Nursery
FDA | C54447 | Individual Case Safety Report Terminology | C53430 | Medical Assistant
FDA | C54447 | Individual Case Safety Report Terminology | C53442 | Medical Equipment Company Technician or Representative
FDA | C54447 | Individual Case Safety Report Terminology | C53418 | Medical Technologist
FDA | C54447 | Individual Case Safety Report Terminology | C53523 | Mobile Health Unit
FDA | C54447 | Individual Case Safety Report Terminology | C53606 | Modification or Adjustment
FDA | C54447 | Individual Case Safety Report Terminology | C53524 | MRI Center |  | MRI Centers
FDA | C54447 | Individual Case Safety Report Terminology | C60812 | Multiple Deaths And Serious Injuries
FDA | C54447 | Individual Case Safety Report Terminology | C49487 | No
FDA | C54447 | Individual Case Safety Report Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54447 | Individual Case Safety Report Terminology | C48660 | NOT APPLICABLE
FDA | C54447 | Individual Case Safety Report Terminology | C25297 | Notification
FDA | C54447 | Individual Case Safety Report Terminology | C53419 | Nuclear Medicine Technologist
FDA | C54447 | Individual Case Safety Report Terminology | C20821 | Nurse
FDA | C54447 | Individual Case Safety Report Terminology | C53431 | Nursing Assistant
FDA | C54447 | Individual Case Safety Report Terminology | C53533 | Nursing Home
FDA | C54447 | Individual Case Safety Report Terminology | C25193 | Occupation
FDA | C54447 | Individual Case Safety Report Terminology | C28174 | Occupational Therapist
FDA | C54447 | Individual Case Safety Report Terminology | C53516 | Operating Room
FDA | C54447 | Individual Case Safety Report Terminology | C53272 | Operator of Medical Device
FDA | C54447 | Individual Case Safety Report Terminology | C53618 | Original Equipment Manufacturer
FDA | C54447 | Individual Case Safety Report Terminology | C53427 | Other Caregiver
FDA | C54447 | Individual Case Safety Report Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL |  | Other Health Care Professional
FDA | C54447 | Individual Case Safety Report Terminology | C53263 | Other Personal Medical History
FDA | C54447 | Individual Case Safety Report Terminology | C17649 | OTHER |  | Other
FDA | C54447 | Individual Case Safety Report Terminology | C53541 | Outdoors
FDA | C54447 | Individual Case Safety Report Terminology | C53548 | Outpatient Diagnostic Facility
FDA | C54447 | Individual Case Safety Report Terminology | C53549 | Outpatient Treatment Facility
FDA | C54447 | Individual Case Safety Report Terminology | C53420 | Paramedic
FDA | C54447 | Individual Case Safety Report Terminology | C53542 | Park
FDA | C54447 | Individual Case Safety Report Terminology | C53432 | Patient Family Member Or Friend
FDA | C54447 | Individual Case Safety Report Terminology | C53607 | Patient Monitoring
FDA | C54447 | Individual Case Safety Report Terminology | C54027 | PATIENT PROBLEM/MEDICAL PROBLEM |  | PATIENT PROBLEM CODE¦PATIENT PROBLEM
FDA | C54447 | Individual Case Safety Report Terminology | C16960 | PATIENT |  | Lay User/Patient¦Patient
FDA | C54447 | Individual Case Safety Report Terminology | C60811 | Pediatric Death
FDA | C54447 | Individual Case Safety Report Terminology | C53578 | PERIODIC |  | Periodic
FDA | C54447 | Individual Case Safety Report Terminology | C51840 | Pharmacist
FDA | C54447 | Individual Case Safety Report Terminology | C53421 | Phlebotomist
FDA | C54447 | Individual Case Safety Report Terminology | C53422 | Physical Therapist
FDA | C54447 | Individual Case Safety Report Terminology | C25741 | PHYSICIAN |  | Physician
FDA | C54447 | Individual Case Safety Report Terminology | C53423 | Physician Assistant
FDA | C54447 | Individual Case Safety Report Terminology | C53446 | Physicist
FDA | C54447 | Individual Case Safety Report Terminology | C53689 | Playground
FDA | C54447 | Individual Case Safety Report Terminology | C53054 | Product Problem
FDA | C54447 | Individual Case Safety Report Terminology | C53564 | Psychiatric Center-Walk in, Other
FDA | C54447 | Individual Case Safety Report Terminology | C53536 | Psychiatric Facility
FDA | C54447 | Individual Case Safety Report Terminology | C53546 | Public Building
FDA | C54447 | Individual Case Safety Report Terminology | C53688 | Public Venue
FDA | C54447 | Individual Case Safety Report Terminology | C17049 | Race
FDA | C54447 | Individual Case Safety Report Terminology | C53424 | Radiologic Technologist
FDA | C54447 | Individual Case Safety Report Terminology | C53517 | Radiology Department
FDA | C54447 | Individual Case Safety Report Terminology | C53593 | Reason for Non-Evaluation
FDA | C54447 | Individual Case Safety Report Terminology | C53609 | Recall | Recalls are regulatory actions that enable FDA to remove a hazardous, potentially hazardous, or a misbranded product from the marketplace. Recalls are also used to convey additional information to the user concerning the safe use of the product. Either FDA or the manufacturer can initiate recalls.
FDA | C54447 | Individual Case Safety Report Terminology | C53535 | Rehabilitation Center
FDA | C54447 | Individual Case Safety Report Terminology | C53608 | Relabeling
FDA | C54447 | Individual Case Safety Report Terminology | C53611 | Repair
FDA | C54447 | Individual Case Safety Report Terminology | C53610 | Replacement
FDA | C54447 | Individual Case Safety Report Terminology | C53566 | Report Source
FDA | C54447 | Individual Case Safety Report Terminology | C53614 | Reprocessor
FDA | C54447 | Individual Case Safety Report Terminology | C53425 | Respiratory Therapist
FDA | C54447 | Individual Case Safety Report Terminology | C53587 | Response to FDA Request
FDA | C54447 | Individual Case Safety Report Terminology | C53537 | Retirement Home
FDA | C54447 | Individual Case Safety Report Terminology | C53613 | Reuse
FDA | C54447 | Individual Case Safety Report Terminology | C53448 | Risk Manager
FDA | C54447 | Individual Case Safety Report Terminology | C17118 | School
FDA | C54447 | Individual Case Safety Report Terminology | C53569 | Serious Injury
FDA | C54447 | Individual Case Safety Report Terminology | C53441 | Service and Testing Personnel
FDA | C54447 | Individual Case Safety Report Terminology | C53273 | Service Personnel
FDA | C54447 | Individual Case Safety Report Terminology | C53574 | Seven-Day
FDA | C54447 | Individual Case Safety Report Terminology | C28421 | Sex
FDA | C54447 | Individual Case Safety Report Terminology | C53563 | Single Use and Reused
FDA | C54447 | Individual Case Safety Report Terminology | C19177 | Speech Therapist
FDA | C54447 | Individual Case Safety Report Terminology | C53687 | Stationary Imaging Center
FDA | C54447 | Individual Case Safety Report Terminology | C25690 | Street
FDA | C54447 | Individual Case Safety Report Terminology | C53575 | Ten-Day
FDA | C54447 | Individual Case Safety Report Terminology | C36292 | TEST RESULT
FDA | C54447 | Individual Case Safety Report Terminology | C53577 | Thirty-Day
FDA | C54447 | Individual Case Safety Report Terminology | C53525 | Tuberculosis Clinic
FDA | C54447 | Individual Case Safety Report Terminology | C53265 | Type of Device
FDA | C54447 | Individual Case Safety Report Terminology | C53053 | Type of Event |  | Type of Reportable Event
FDA | C54447 | Individual Case Safety Report Terminology | C53584 | Type of Follow-Up
FDA | C54447 | Individual Case Safety Report Terminology | C54597 | Type Of Manufacturer
FDA | C54447 | Individual Case Safety Report Terminology | C53603 | Type of Remedial Action
FDA | C54447 | Individual Case Safety Report Terminology | C53571 | Type of Report |  | Report Type
FDA | C54447 | Individual Case Safety Report Terminology | C53615 | Type of Reporter |  | Reporter Type
FDA | C54447 | Individual Case Safety Report Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54447 | Individual Case Safety Report Terminology | C38046 | Unspecified
FDA | C54447 | Individual Case Safety Report Terminology | C53528 | Urgent Care Center
FDA | C54447 | Individual Case Safety Report Terminology | C53645 | Usage of Device
FDA | C54447 | Individual Case Safety Report Terminology | C53567 | User Facility | Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in this section, which is not a physician's office, as defined in this section. School nurse offices and employee health units are not device user facilities.
FDA | C54447 | Individual Case Safety Report Terminology | C53552 | Ward or Patient Room
FDA | C54447 | Individual Case Safety Report Terminology | C25208 | Weight
FDA | C54447 | Individual Case Safety Report Terminology | C49488 | Yes