## 13.04e
Source | Subset Code | Subset Name | Concept Code | Source PT | Source Definition | Source Synonym(s)
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C49489 | ADVERSE EVENT OUTCOME |  | OUTCOME ATTRIBUTED TO ADVERSE EVENT
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C2849 | CONGENITAL DEFECT/DEFORMITY |  | DEFECT/DEFORMITY, CONGENITAL
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C28554 | DIED |  | EXPIRED/DEATH
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C21007 | DISABILITY
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C25179 | HOSPITALIZATION
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C52668 | INTERVENTION REQUIRED
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C50913 | INVALID DATA
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C41337 | LIFE THREATENING |  | Life Threatening Adverse Event
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C84266 | Life-threatening adverse experience
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C60812 | MULTIPLE DEATHS AND SERIOUS INJURIES
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C102443 | Number of Hospitalization Days
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C49498 | Patient recovered
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C60811 | PEDIATRIC DEATH
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C102436 | Required emergency room/doctor visit
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C50414 | Required hospitalization
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C102451 | Resulted in permanent disability
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C102450 | Resulted in prolongation of hospitalization
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54583 | Adverse Event Outcome ICSR Terminology | C103982 | Voluntary
FDA | C99173 | Device Evaluation ICSR Terminology | C54030 | EVALUATION CONCLUSION
FDA | C99173 | Device Evaluation ICSR Terminology | C54028 | EVALUATION METHOD
FDA | C99173 | Device Evaluation ICSR Terminology | C54029 | EVALUATION RESULT
FDA | C54595 | Device Usage ICSR Terminology | C53612 | INITIAL
FDA | C54595 | Device Usage ICSR Terminology | C53613 | REUSE
FDA | C54595 | Device Usage ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54595 | Device Usage ICSR Terminology | C38046 | UNSPECIFIED
FDA | C54595 | Device Usage ICSR Terminology | C53645 | USAGE OF DEVICE
FDA | C94849 | Dose Denominator Qualifier ICSR Terminology | C14182 | ANIMAL
FDA | C94849 | Dose Denominator Qualifier ICSR Terminology | C94850 | ENCLOSURE
FDA | C94849 | Dose Denominator Qualifier ICSR Terminology | C94851 | QUARTER
FDA | C94849 | Dose Denominator Qualifier ICSR Terminology | C77664 | TEAT
FDA | C54447 | Individual Case Safety Report Terminology | C25274 | ACTUAL
FDA | C54447 | Individual Case Safety Report Terminology | C53586 | ADDITIONAL INFORMATION
FDA | C54447 | Individual Case Safety Report Terminology | C41331 | ADVERSE EVENT
FDA | C54447 | Individual Case Safety Report Terminology | C88073 | ADVERSE EVENT EXPOSURE CODE
FDA | C54447 | Individual Case Safety Report Terminology | C102470 | Adverse event following prior vaccination
FDA | C54447 | Individual Case Safety Report Terminology | C49489 | ADVERSE EVENT OUTCOME |  | OUTCOME ATTRIBUTED TO ADVERSE EVENT
FDA | C54447 | Individual Case Safety Report Terminology | C88082 | ADVERSE EVENT TREATMENT
FDA | C54447 | Individual Case Safety Report Terminology | C25150 | AGE
FDA | C54447 | Individual Case Safety Report Terminology | C103173 | Age at the Time of Vaccination
FDA | C54447 | Individual Case Safety Report Terminology | C88065 | AGE AT TIME OF ADVERSE EVENT
FDA | C54447 | Individual Case Safety Report Terminology | C16281 | AMBULATORY CARE FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C51957 | AMBULATORY SURGICAL CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C51945 | AMBULATORY SURGICAL FACILITY |  | OUTPATIENT CLINIC/SURGERY
FDA | C54447 | Individual Case Safety Report Terminology | C14182 | ANIMAL
FDA | C54447 | Individual Case Safety Report Terminology | C53451 | APPROXIMATE AGE OF DEVICE
FDA | C54447 | Individual Case Safety Report Terminology | C51959 | ATTORNEY
FDA | C54447 | Individual Case Safety Report Terminology | C51804 | AUDIOLOGIST
FDA | C54447 | Individual Case Safety Report Terminology | C51960 | BIOMEDICAL ENGINEER
FDA | C54447 | Individual Case Safety Report Terminology | C51963 | BLOOD BANK
FDA | C54447 | Individual Case Safety Report Terminology | C51964 | BLOODMOBILE
FDA | C54447 | Individual Case Safety Report Terminology | C53692 | BREED
FDA | C54447 | Individual Case Safety Report Terminology | C53510 | CARDIAC CATHETERIZATION SUITE |  | CATHETERIZATION SUITE
FDA | C54447 | Individual Case Safety Report Terminology | C51967 | CHEMOTHERAPY CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C51282 | CLINIC - WALK IN, OTHER
FDA | C54447 | Individual Case Safety Report Terminology | C15206 | CLINICAL STUDY
FDA | C54447 | Individual Case Safety Report Terminology | C54696 | Combination Product
FDA | C54447 | Individual Case Safety Report Terminology | C51968 | COMPANY REPRESENTATIVE
FDA | C54447 | Individual Case Safety Report Terminology | C53630 | Concomitant Therapy
FDA | C54447 | Individual Case Safety Report Terminology | C2849 | CONGENITAL DEFECT/DEFORMITY |  | DEFECT/DEFORMITY, CONGENITAL
FDA | C54447 | Individual Case Safety Report Terminology | C53568 | CONSUMER/CONCERNED CITIZEN
FDA | C54447 | Individual Case Safety Report Terminology | C53585 | CORRECTION
FDA | C54447 | Individual Case Safety Report Terminology | C53619 | CORRECTIVE ACTION NUMBER
FDA | C54447 | Individual Case Safety Report Terminology | C25464 | COUNTRY
FDA | C54447 | Individual Case Safety Report Terminology | C88066 | CROSSBREED INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C53486 | DATE OF CONCOMITANT THERAPY
FDA | C54447 | Individual Case Safety Report Terminology | C53481 | DATE OF DEVICE RETURN TO MANUFACTURER
FDA | C54447 | Individual Case Safety Report Terminology | C53428 | DENTAL ASSISTANT
FDA | C54447 | Individual Case Safety Report Terminology | C53293 | DENTAL HYGIENIST
FDA | C54447 | Individual Case Safety Report Terminology | C52654 | DENTIST
FDA | C54447 | Individual Case Safety Report Terminology | C53449 | DEVICE AVAILABLE FOR EVALUATION
FDA | C54447 | Individual Case Safety Report Terminology | C53629 | Device Evaluated by Manufacturer
FDA | C54447 | Individual Case Safety Report Terminology | C53588 | DEVICE EVALUATION
FDA | C54447 | Individual Case Safety Report Terminology | C53601 | DEVICE EVALUATION ANTICIPATED BUT NOT YET BEGUN
FDA | C54447 | Individual Case Safety Report Terminology | C53602 | DEVICE LABELED FOR SINGLE USE
FDA | C54447 | Individual Case Safety Report Terminology | C53599 | DEVICE NOT MADE BY COMPANY
FDA | C54447 | Individual Case Safety Report Terminology | C54026 | DEVICE PROBLEM
FDA | C54447 | Individual Case Safety Report Terminology | C53600 | DEVICE PROBLEM ALREADY KNOWN NO EVALUATION NECESSARY
FDA | C54447 | Individual Case Safety Report Terminology | C53598 | DEVICE RECEIVED IN CONDITION WHICH MADE ANALYSIS IMPOSSIBLE
FDA | C54447 | Individual Case Safety Report Terminology | C53591 | DEVICE RETURNED TO MANUFACTURER FOR EVALUATION
FDA | C54447 | Individual Case Safety Report Terminology | C53274 | DEVICE UNATTENDED
FDA | C54447 | Individual Case Safety Report Terminology | C53518 | DIALYSIS CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C53512 | DIALYSIS UNIT
FDA | C54447 | Individual Case Safety Report Terminology | C28554 | DIED |  | EXPIRED/DEATH
FDA | C54447 | Individual Case Safety Report Terminology | C28248 | DIETICIAN
FDA | C54447 | Individual Case Safety Report Terminology | C21007 | DISABILITY
FDA | C54447 | Individual Case Safety Report Terminology | C48289 | DISTRIBUTOR
FDA | C54447 | Individual Case Safety Report Terminology | C53519 | DRUG CLINIC
FDA | C54447 | Individual Case Safety Report Terminology | C53417 | EMERGENCY MEDICAL TECHNICIAN
FDA | C54447 | Individual Case Safety Report Terminology | C53513 | EMERGENCY ROOM
FDA | C54447 | Individual Case Safety Report Terminology | C94850 | ENCLOSURE
FDA | C54447 | Individual Case Safety Report Terminology | C25498 | ESTIMATED
FDA | C54447 | Individual Case Safety Report Terminology | C54030 | EVALUATION CONCLUSION
FDA | C54447 | Individual Case Safety Report Terminology | C54028 | EVALUATION METHOD
FDA | C54447 | Individual Case Safety Report Terminology | C54029 | EVALUATION RESULT
FDA | C54447 | Individual Case Safety Report Terminology | C53592 | EVALUATION SUMMARY STATUS
FDA | C54447 | Individual Case Safety Report Terminology | C53514 | EXAMINATION ROOM
FDA | C54447 | Individual Case Safety Report Terminology | C92487 | EXPLANATION OF OFF LABEL USE
FDA | C54447 | Individual Case Safety Report Terminology | C16576 | F
FDA | C54447 | Individual Case Safety Report Terminology | C25745 | FAILURE
FDA | C54447 | Individual Case Safety Report Terminology | C53580 | FDA REQUESTED
FDA | C54447 | Individual Case Safety Report Terminology | C95017 | FEMALE PHYSIOLOGICAL STATUS
FDA | C54447 | Individual Case Safety Report Terminology | C53576 | FIFTEEN-DAY
FDA | C54447 | Individual Case Safety Report Terminology | C53573 | FIVE-DAY
FDA | C54447 | Individual Case Safety Report Terminology | C53579 | FOLLOW-UP
FDA | C54447 | Individual Case Safety Report Terminology | C17237 | Food and Drug Administration
FDA | C54447 | Individual Case Safety Report Terminology | C88078 | FOOD AND DRUG ADMINISTRATION OFFICE OF REGULATORY AFFAIRS DISTRICT FIELD OFFICE
FDA | C54447 | Individual Case Safety Report Terminology | C25512 | FOREIGN
FDA | C54447 | Individual Case Safety Report Terminology | C51966 | FREE-STANDING CARDIAC CATHETERIZATION LABORATORY
FDA | C54447 | Individual Case Safety Report Terminology | C102431 | Funding Source for Product
FDA | C54447 | Individual Case Safety Report Terminology | C88072 | GESTATIONAL AGE AT TIME OF ADVERSE EVENT
FDA | C54447 | Individual Case Safety Report Terminology | C88067 | HEALTH ASSESSMENT PRIOR TO EXPOSURE
FDA | C54447 | Individual Case Safety Report Terminology | C53287 | HEALTH CARE PROFESSIONAL
FDA | C54447 | Individual Case Safety Report Terminology | C18002 | HOME
FDA | C54447 | Individual Case Safety Report Terminology | C53429 | HOME HEALTH AID
FDA | C54447 | Individual Case Safety Report Terminology | C53532 | HOSPICE
FDA | C54447 | Individual Case Safety Report Terminology | C16696 | HOSPITAL
FDA | C54447 | Individual Case Safety Report Terminology | C53433 | HOSPITAL SERVICE TECHNICIAN
FDA | C54447 | Individual Case Safety Report Terminology | C25179 | HOSPITALIZATION
FDA | C54447 | Individual Case Safety Report Terminology | C88086 | ICSR ASSIGNED ENTITY ORGANIZATION ROLE CODE
FDA | C54447 | Individual Case Safety Report Terminology | C88085 | ICSR ASSIGNED ENTITY PERSON ROLE CODE
FDA | C54447 | Individual Case Safety Report Terminology | C102468 | Illness at time of vaccination
FDA | C54447 | Individual Case Safety Report Terminology | C53521 | IMAGING CENTER - MOBILE
FDA | C54447 | Individual Case Safety Report Terminology | C53617 | IMPORTER
FDA | C54447 | Individual Case Safety Report Terminology | C53538 | IN TRANSIT TO USER/MEDICAL FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C53612 | INITIAL
FDA | C54447 | Individual Case Safety Report Terminology | C53620 | INITIAL
FDA | C54447 | Individual Case Safety Report Terminology | C53604 | INSPECTION
FDA | C54447 | Individual Case Safety Report Terminology | C53511 | INTENSIVE CARE UNIT |  | CRITICAL CARE UNIT
FDA | C54447 | Individual Case Safety Report Terminology | C52668 | INTERVENTION REQUIRED
FDA | C54447 | Individual Case Safety Report Terminology | C50913 | INVALID DATA
FDA | C54447 | Individual Case Safety Report Terminology | C37984 | LABORATORY
FDA | C54447 | Individual Case Safety Report Terminology | C53551 | LABORATORY OR PATHOLOGY DEPARTMENT
FDA | C54447 | Individual Case Safety Report Terminology | C105633 | Left Arm
FDA | C54447 | Individual Case Safety Report Terminology | C105634 | Left Deltoid
FDA | C54447 | Individual Case Safety Report Terminology | C105638 | Left Gluteus Medius
FDA | C54447 | Individual Case Safety Report Terminology | C105642 | Left Lower Forearm
FDA | C54447 | Individual Case Safety Report Terminology | C105632 | Left Thigh
FDA | C54447 | Individual Case Safety Report Terminology | C105640 | Left Vastus Lateralis
FDA | C54447 | Individual Case Safety Report Terminology | C92489 | LENGTH OF TIME BETWEEN PRODUCT EXPOSURE AND ONSET OF ADVERSE EVENT SYMPTOM
FDA | C54447 | Individual Case Safety Report Terminology | C41337 | LIFE THREATENING |  | Life Threatening Adverse Event
FDA | C54447 | Individual Case Safety Report Terminology | C84266 | Life-threatening adverse experience
FDA | C54447 | Individual Case Safety Report Terminology | C48471 | LITERATURE
FDA | C54447 | Individual Case Safety Report Terminology | C53509 | LOCATION WHERE EVENT OCCURRED
FDA | C54447 | Individual Case Safety Report Terminology | C53530 | LONG-TERM CARE FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C20197 | M
FDA | C54447 | Individual Case Safety Report Terminology | C25392 | MANUFACTURER
FDA | C54447 | Individual Case Safety Report Terminology | C53581 | MANUFACTURER RESPONSE TO VOLUNTARY REPORT
FDA | C54447 | Individual Case Safety Report Terminology | C88074 | MARKETING AUTHORIZATION HOLDER
FDA | C54447 | Individual Case Safety Report Terminology | C53515 | MATERNITY WARD - NURSERY
FDA | C54447 | Individual Case Safety Report Terminology | C53430 | MEDICAL ASSISTANT
FDA | C54447 | Individual Case Safety Report Terminology | C53442 | MEDICAL EQUIPMENT COMPANY TECHNICIAN OR REPRESENTATIVE
FDA | C54447 | Individual Case Safety Report Terminology | C53418 | MEDICAL TECHNOLOGIST
FDA | C54447 | Individual Case Safety Report Terminology | C102433 | Military Funds
FDA | C54447 | Individual Case Safety Report Terminology | C53523 | MOBILE HEALTH UNIT
FDA | C54447 | Individual Case Safety Report Terminology | C53606 | MODIFICATION OR ADJUSTMENT
FDA | C54447 | Individual Case Safety Report Terminology | C53524 | MRI CENTER |  | MRI CENTERS
FDA | C54447 | Individual Case Safety Report Terminology | C60812 | MULTIPLE DEATHS AND SERIOUS INJURIES
FDA | C54447 | Individual Case Safety Report Terminology | C88071 | NEGATIVE RECHALLENGE INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C49487 | NO
FDA | C54447 | Individual Case Safety Report Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54447 | Individual Case Safety Report Terminology | C48660 | NOT APPLICABLE
FDA | C54447 | Individual Case Safety Report Terminology | C25297 | NOTIFICATION
FDA | C54447 | Individual Case Safety Report Terminology | C53419 | NUCLEAR MEDICINE TECHNOLOGIST
FDA | C54447 | Individual Case Safety Report Terminology | C88075 | NUMBER OF ANIMALS AFFECTED
FDA | C54447 | Individual Case Safety Report Terminology | C88076 | NUMBER OF DEFECTIVE UNITS
FDA | C54447 | Individual Case Safety Report Terminology | C102443 | Number of Hospitalization Days
FDA | C54447 | Individual Case Safety Report Terminology | C102469 | Number of Siblings
FDA | C54447 | Individual Case Safety Report Terminology | C88077 | NUMBER OF UNITS RETURNED
FDA | C54447 | Individual Case Safety Report Terminology | C20821 | NURSE
FDA | C54447 | Individual Case Safety Report Terminology | C53431 | NURSING ASSISTANT
FDA | C54447 | Individual Case Safety Report Terminology | C53533 | NURSING HOME
FDA | C54447 | Individual Case Safety Report Terminology | C25193 | OCCUPATION
FDA | C54447 | Individual Case Safety Report Terminology | C28174 | OCCUPATIONAL THERAPIST
FDA | C54447 | Individual Case Safety Report Terminology | C53516 | OPERATING ROOM
FDA | C54447 | Individual Case Safety Report Terminology | C53272 | OPERATOR OF MEDICAL DEVICE
FDA | C54447 | Individual Case Safety Report Terminology | C53618 | ORIGINAL EQUIPMENT MANUFACTURER
FDA | C54447 | Individual Case Safety Report Terminology | C17649 | OTHER |  | Other
FDA | C54447 | Individual Case Safety Report Terminology | C53427 | OTHER CAREGIVER
FDA | C54447 | Individual Case Safety Report Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL
FDA | C54447 | Individual Case Safety Report Terminology | C53263 | OTHER PERSONAL MEDICAL HISTORY
FDA | C54447 | Individual Case Safety Report Terminology | C102467 | Other vaccinations given within 4 weeks
FDA | C54447 | Individual Case Safety Report Terminology | C53541 | OUTDOORS
FDA | C54447 | Individual Case Safety Report Terminology | C53548 | OUTPATIENT DIAGNOSTIC FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C53549 | OUTPATIENT TREATMENT FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C54068 | Over-the-Counter Product
FDA | C54447 | Individual Case Safety Report Terminology | C53420 | PARAMEDIC
FDA | C54447 | Individual Case Safety Report Terminology | C42709 | Parent
FDA | C54447 | Individual Case Safety Report Terminology | C53542 | PARK
FDA | C54447 | Individual Case Safety Report Terminology | C16960 | PATIENT |  | LAY USER/PATIENT
FDA | C54447 | Individual Case Safety Report Terminology | C53432 | PATIENT FAMILY MEMBER OR FRIEND
FDA | C54447 | Individual Case Safety Report Terminology | C53607 | PATIENT MONITORING
FDA | C54447 | Individual Case Safety Report Terminology | C54027 | PATIENT PROBLEM |  | PATIENT PROBLEM CODE
FDA | C54447 | Individual Case Safety Report Terminology | C49498 | Patient recovered
FDA | C54447 | Individual Case Safety Report Terminology | C60811 | PEDIATRIC DEATH
FDA | C54447 | Individual Case Safety Report Terminology | C53578 | PERIODIC
FDA | C54447 | Individual Case Safety Report Terminology | C51840 | PHARMACIST
FDA | C54447 | Individual Case Safety Report Terminology | C53421 | PHLEBOTOMIST
FDA | C54447 | Individual Case Safety Report Terminology | C53422 | PHYSICAL THERAPIST
FDA | C54447 | Individual Case Safety Report Terminology | C25741 | PHYSICIAN
FDA | C54447 | Individual Case Safety Report Terminology | C53423 | PHYSICIAN ASSISTANT
FDA | C54447 | Individual Case Safety Report Terminology | C53446 | PHYSICIST
FDA | C54447 | Individual Case Safety Report Terminology | C53689 | PLAYGROUND
FDA | C54447 | Individual Case Safety Report Terminology | C88069 | POSITIVE DECHALLENGE REACTION INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C88070 | POSITIVE RECHALLENGE INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C99176 | Pre-1938 Product
FDA | C54447 | Individual Case Safety Report Terminology | C88079 | PREVIOUS ADVERSE EVENT INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C88080 | PREVIOUS EXPOSURE INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C88087 | PRIMARY SOURCE REPORTER
FDA | C54447 | Individual Case Safety Report Terminology | C102432 | Private Funds
FDA | C54447 | Individual Case Safety Report Terminology | C53054 | PRODUCT PROBLEM
FDA | C54447 | Individual Case Safety Report Terminology | C103983 | Product Use Error
FDA | C54447 | Individual Case Safety Report Terminology | C53564 | PSYCHIATRIC CENTER-WALK IN, OTHER
FDA | C54447 | Individual Case Safety Report Terminology | C53536 | PSYCHIATRIC FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C53546 | PUBLIC BUILDING
FDA | C54447 | Individual Case Safety Report Terminology | C102434 | Public Funds
FDA | C54447 | Individual Case Safety Report Terminology | C53688 | PUBLIC VENUE
FDA | C54447 | Individual Case Safety Report Terminology | C94848 | QUANTITY EXACTNESS
FDA | C54447 | Individual Case Safety Report Terminology | C94851 | QUARTER
FDA | C54447 | Individual Case Safety Report Terminology | C17049 | RACE
FDA | C54447 | Individual Case Safety Report Terminology | C53424 | RADIOLOGIC TECHNOLOGIST
FDA | C54447 | Individual Case Safety Report Terminology | C53517 | RADIOLOGY DEPARTMENT
FDA | C54447 | Individual Case Safety Report Terminology | C53593 | REASON FOR NON-EVALUATION
FDA | C54447 | Individual Case Safety Report Terminology | C53609 | RECALL
FDA | C54447 | Individual Case Safety Report Terminology | C88081 | REGULATORY AUTHORITY
FDA | C54447 | Individual Case Safety Report Terminology | C53535 | REHABILITATION CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C53608 | RELABELING
FDA | C54447 | Individual Case Safety Report Terminology | C53611 | REPAIR
FDA | C54447 | Individual Case Safety Report Terminology | C53610 | REPLACEMENT
FDA | C54447 | Individual Case Safety Report Terminology | C53566 | REPORT SOURCE
FDA | C54447 | Individual Case Safety Report Terminology | C93539 | Reporter Confidentiality Disclosure Indicator
FDA | C54447 | Individual Case Safety Report Terminology | C53614 | REPROCESSOR
FDA | C54447 | Individual Case Safety Report Terminology | C102436 | Required emergency room/doctor visit
FDA | C54447 | Individual Case Safety Report Terminology | C50414 | Required hospitalization
FDA | C54447 | Individual Case Safety Report Terminology | C53425 | RESPIRATORY THERAPIST
FDA | C54447 | Individual Case Safety Report Terminology | C53587 | RESPONSE TO FDA REQUEST
FDA | C54447 | Individual Case Safety Report Terminology | C102451 | Resulted in permanent disability
FDA | C54447 | Individual Case Safety Report Terminology | C102450 | Resulted in prolongation of hospitalization
FDA | C54447 | Individual Case Safety Report Terminology | C53537 | RETIREMENT HOME
FDA | C54447 | Individual Case Safety Report Terminology | C53613 | REUSE
FDA | C54447 | Individual Case Safety Report Terminology | C105636 | Right Arm
FDA | C54447 | Individual Case Safety Report Terminology | C105635 | Right Deltoid
FDA | C54447 | Individual Case Safety Report Terminology | C105639 | Right Gluteus Medius
FDA | C54447 | Individual Case Safety Report Terminology | C105643 | Right Lower Forearm
FDA | C54447 | Individual Case Safety Report Terminology | C105637 | Right Thigh
FDA | C54447 | Individual Case Safety Report Terminology | C105641 | Right Vastus Lateralis
FDA | C54447 | Individual Case Safety Report Terminology | C53448 | RISK MANAGER
FDA | C54447 | Individual Case Safety Report Terminology | C17118 | SCHOOL
FDA | C54447 | Individual Case Safety Report Terminology | C53569 | SERIOUS INJURY
FDA | C54447 | Individual Case Safety Report Terminology | C53441 | SERVICE AND TESTING PERSONNEL
FDA | C54447 | Individual Case Safety Report Terminology | C53273 | SERVICE PERSONNEL
FDA | C54447 | Individual Case Safety Report Terminology | C53574 | SEVEN-DAY
FDA | C54447 | Individual Case Safety Report Terminology | C28421 | SEX
FDA | C54447 | Individual Case Safety Report Terminology | C53563 | SINGLE USE AND REUSED
FDA | C54447 | Individual Case Safety Report Terminology | C19177 | SPEECH THERAPIST
FDA | C54447 | Individual Case Safety Report Terminology | C53687 | STATIONARY IMAGING CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C25690 | STREET
FDA | C54447 | Individual Case Safety Report Terminology | C77664 | TEAT
FDA | C54447 | Individual Case Safety Report Terminology | C53575 | TEN-DAY
FDA | C54447 | Individual Case Safety Report Terminology | C36292 | TEST RESULT
FDA | C54447 | Individual Case Safety Report Terminology | C53577 | THIRTY-DAY
FDA | C54447 | Individual Case Safety Report Terminology | C53525 | TUBERCULOSIS CLINIC
FDA | C54447 | Individual Case Safety Report Terminology | C53265 | TYPE OF DEVICE
FDA | C54447 | Individual Case Safety Report Terminology | C53053 | TYPE OF EVENT |  | TYPE OF REPORTABLE EVENT
FDA | C54447 | Individual Case Safety Report Terminology | C53584 | TYPE OF FOLLOW-UP
FDA | C54447 | Individual Case Safety Report Terminology | C54597 | TYPE OF MANUFACTURER
FDA | C54447 | Individual Case Safety Report Terminology | C53603 | TYPE OF REMEDIAL ACTION
FDA | C54447 | Individual Case Safety Report Terminology | C53571 | TYPE OF REPORT |  | REPORT TYPE
FDA | C54447 | Individual Case Safety Report Terminology | C88083 | TYPE OF REPORT INFORMATION
FDA | C54447 | Individual Case Safety Report Terminology | C53615 | TYPE OF REPORTER |  | REPORTER TYPE
FDA | C54447 | Individual Case Safety Report Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54447 | Individual Case Safety Report Terminology | C38046 | UNSPECIFIED
FDA | C54447 | Individual Case Safety Report Terminology | C53528 | URGENT CARE CENTER
FDA | C54447 | Individual Case Safety Report Terminology | C53645 | USAGE OF DEVICE
FDA | C54447 | Individual Case Safety Report Terminology | C88084 | USED ACCORDING TO LABEL INDICATOR
FDA | C54447 | Individual Case Safety Report Terminology | C53567 | USER FACILITY
FDA | C54447 | Individual Case Safety Report Terminology | C102430 | Vaccine Provider
FDA | C54447 | Individual Case Safety Report Terminology | C88068 | VETERINARY ANATOMIC THERAPEUTIC CHEMICAL CLASSIFICATION SYSTEM CODE
FDA | C54447 | Individual Case Safety Report Terminology | C103982 | Voluntary
FDA | C54447 | Individual Case Safety Report Terminology | C53552 | WARD OR PATIENT ROOM
FDA | C54447 | Individual Case Safety Report Terminology | C25208 | WEIGHT
FDA | C54447 | Individual Case Safety Report Terminology | C49488 | YES
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C16281 | AMBULATORY CARE FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51957 | AMBULATORY SURGICAL CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51945 | AMBULATORY SURGICAL FACILITY |  | OUTPATIENT CLINIC/SURGERY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51963 | BLOOD BANK
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51964 | BLOODMOBILE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53510 | CARDIAC CATHETERIZATION SUITE |  | CATHETERIZATION SUITE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51967 | CHEMOTHERAPY CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51282 | CLINIC - WALK IN, OTHER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53518 | DIALYSIS CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53512 | DIALYSIS UNIT
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53519 | DRUG CLINIC
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53513 | EMERGENCY ROOM
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53514 | EXAMINATION ROOM
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C51966 | FREE-STANDING CARDIAC CATHETERIZATION LABORATORY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C18002 | HOME
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53532 | HOSPICE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C16696 | HOSPITAL
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53521 | IMAGING CENTER - MOBILE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53538 | IN TRANSIT TO USER/MEDICAL FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53511 | INTENSIVE CARE UNIT |  | CRITICAL CARE UNIT
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C50913 | INVALID DATA
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C37984 | LABORATORY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53551 | LABORATORY OR PATHOLOGY DEPARTMENT
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53509 | LOCATION WHERE EVENT OCCURRED
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53530 | LONG-TERM CARE FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53515 | MATERNITY WARD - NURSERY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53523 | MOBILE HEALTH UNIT
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53524 | MRI CENTER |  | MRI CENTERS
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53533 | NURSING HOME
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53516 | OPERATING ROOM
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53541 | OUTDOORS
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53548 | OUTPATIENT DIAGNOSTIC FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53549 | OUTPATIENT TREATMENT FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53542 | PARK
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53689 | PLAYGROUND
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53564 | PSYCHIATRIC CENTER-WALK IN, OTHER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53536 | PSYCHIATRIC FACILITY
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53546 | PUBLIC BUILDING
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53688 | PUBLIC VENUE
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53517 | RADIOLOGY DEPARTMENT
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53535 | REHABILITATION CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53537 | RETIREMENT HOME
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C17118 | SCHOOL
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53687 | STATIONARY IMAGING CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C25690 | STREET
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53525 | TUBERCULOSIS CLINIC
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53528 | URGENT CARE CENTER
FDA | C54590 | Location of Event Occurrence ICSR Terminology | C53552 | WARD OR PATIENT ROOM
FDA | C88088 | Observation ICSR Terminology | C25274 | ACTUAL
FDA | C88088 | Observation ICSR Terminology | C88073 | ADVERSE EVENT EXPOSURE CODE
FDA | C88088 | Observation ICSR Terminology | C102470 | Adverse event following prior vaccination
FDA | C88088 | Observation ICSR Terminology | C88082 | ADVERSE EVENT TREATMENT
FDA | C88088 | Observation ICSR Terminology | C103173 | Age at the Time of Vaccination
FDA | C88088 | Observation ICSR Terminology | C88065 | AGE AT TIME OF ADVERSE EVENT
FDA | C88088 | Observation ICSR Terminology | C53692 | BREED
FDA | C88088 | Observation ICSR Terminology | C53619 | CORRECTIVE ACTION NUMBER
FDA | C88088 | Observation ICSR Terminology | C88066 | CROSSBREED INDICATOR
FDA | C88088 | Observation ICSR Terminology | C25498 | ESTIMATED
FDA | C88088 | Observation ICSR Terminology | C92487 | EXPLANATION OF OFF LABEL USE
FDA | C88088 | Observation ICSR Terminology | C16576 | F
FDA | C88088 | Observation ICSR Terminology | C95017 | FEMALE PHYSIOLOGICAL STATUS
FDA | C88088 | Observation ICSR Terminology | C17237 | Food and Drug Administration
FDA | C88088 | Observation ICSR Terminology | C88078 | FOOD AND DRUG ADMINISTRATION OFFICE OF REGULATORY AFFAIRS DISTRICT FIELD OFFICE
FDA | C88088 | Observation ICSR Terminology | C102431 | Funding Source for Product
FDA | C88088 | Observation ICSR Terminology | C88072 | GESTATIONAL AGE AT TIME OF ADVERSE EVENT
FDA | C88088 | Observation ICSR Terminology | C88067 | HEALTH ASSESSMENT PRIOR TO EXPOSURE
FDA | C88088 | Observation ICSR Terminology | C88086 | ICSR ASSIGNED ENTITY ORGANIZATION ROLE CODE
FDA | C88088 | Observation ICSR Terminology | C88085 | ICSR ASSIGNED ENTITY PERSON ROLE CODE
FDA | C88088 | Observation ICSR Terminology | C102468 | Illness at time of vaccination
FDA | C88088 | Observation ICSR Terminology | C92489 | LENGTH OF TIME BETWEEN PRODUCT EXPOSURE AND ONSET OF ADVERSE EVENT SYMPTOM
FDA | C88088 | Observation ICSR Terminology | C20197 | M
FDA | C88088 | Observation ICSR Terminology | C88074 | MARKETING AUTHORIZATION HOLDER
FDA | C88088 | Observation ICSR Terminology | C102433 | Military Funds
FDA | C88088 | Observation ICSR Terminology | C88071 | NEGATIVE RECHALLENGE INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88075 | NUMBER OF ANIMALS AFFECTED
FDA | C88088 | Observation ICSR Terminology | C88076 | NUMBER OF DEFECTIVE UNITS
FDA | C88088 | Observation ICSR Terminology | C102469 | Number of Siblings
FDA | C88088 | Observation ICSR Terminology | C88077 | NUMBER OF UNITS RETURNED
FDA | C88088 | Observation ICSR Terminology | C17649 | OTHER |  | Other
FDA | C88088 | Observation ICSR Terminology | C102467 | Other vaccinations given within 4 weeks
FDA | C88088 | Observation ICSR Terminology | C88069 | POSITIVE DECHALLENGE REACTION INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88070 | POSITIVE RECHALLENGE INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88079 | PREVIOUS ADVERSE EVENT INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88080 | PREVIOUS EXPOSURE INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88087 | PRIMARY SOURCE REPORTER
FDA | C88088 | Observation ICSR Terminology | C102432 | Private Funds
FDA | C88088 | Observation ICSR Terminology | C102434 | Public Funds
FDA | C88088 | Observation ICSR Terminology | C94848 | QUANTITY EXACTNESS
FDA | C88088 | Observation ICSR Terminology | C88081 | REGULATORY AUTHORITY
FDA | C88088 | Observation ICSR Terminology | C93539 | Reporter Confidentiality Disclosure Indicator
FDA | C88088 | Observation ICSR Terminology | C28421 | SEX
FDA | C88088 | Observation ICSR Terminology | C88083 | TYPE OF REPORT INFORMATION
FDA | C88088 | Observation ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C88088 | Observation ICSR Terminology | C88084 | USED ACCORDING TO LABEL INDICATOR
FDA | C88088 | Observation ICSR Terminology | C88068 | VETERINARY ANATOMIC THERAPEUTIC CHEMICAL CLASSIFICATION SYSTEM CODE
FDA | C54585 | Occupation ICSR Terminology | C51959 | ATTORNEY
FDA | C54585 | Occupation ICSR Terminology | C51804 | AUDIOLOGIST
FDA | C54585 | Occupation ICSR Terminology | C51960 | BIOMEDICAL ENGINEER
FDA | C54585 | Occupation ICSR Terminology | C53428 | DENTAL ASSISTANT
FDA | C54585 | Occupation ICSR Terminology | C53293 | DENTAL HYGIENIST
FDA | C54585 | Occupation ICSR Terminology | C52654 | DENTIST
FDA | C54585 | Occupation ICSR Terminology | C28248 | DIETICIAN
FDA | C54585 | Occupation ICSR Terminology | C53417 | EMERGENCY MEDICAL TECHNICIAN
FDA | C54585 | Occupation ICSR Terminology | C53287 | HEALTH CARE PROFESSIONAL
FDA | C54585 | Occupation ICSR Terminology | C53429 | HOME HEALTH AID
FDA | C54585 | Occupation ICSR Terminology | C53433 | HOSPITAL SERVICE TECHNICIAN
FDA | C54585 | Occupation ICSR Terminology | C50913 | INVALID DATA
FDA | C54585 | Occupation ICSR Terminology | C53430 | MEDICAL ASSISTANT
FDA | C54585 | Occupation ICSR Terminology | C53442 | MEDICAL EQUIPMENT COMPANY TECHNICIAN OR REPRESENTATIVE
FDA | C54585 | Occupation ICSR Terminology | C53418 | MEDICAL TECHNOLOGIST
FDA | C54585 | Occupation ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54585 | Occupation ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54585 | Occupation ICSR Terminology | C53419 | NUCLEAR MEDICINE TECHNOLOGIST
FDA | C54585 | Occupation ICSR Terminology | C20821 | NURSE
FDA | C54585 | Occupation ICSR Terminology | C53431 | NURSING ASSISTANT
FDA | C54585 | Occupation ICSR Terminology | C25193 | OCCUPATION
FDA | C54585 | Occupation ICSR Terminology | C28174 | OCCUPATIONAL THERAPIST
FDA | C54585 | Occupation ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54585 | Occupation ICSR Terminology | C53427 | OTHER CAREGIVER
FDA | C54585 | Occupation ICSR Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL
FDA | C54585 | Occupation ICSR Terminology | C53420 | PARAMEDIC
FDA | C54585 | Occupation ICSR Terminology | C51840 | PHARMACIST
FDA | C54585 | Occupation ICSR Terminology | C53421 | PHLEBOTOMIST
FDA | C54585 | Occupation ICSR Terminology | C53422 | PHYSICAL THERAPIST
FDA | C54585 | Occupation ICSR Terminology | C25741 | PHYSICIAN
FDA | C54585 | Occupation ICSR Terminology | C53423 | PHYSICIAN ASSISTANT
FDA | C54585 | Occupation ICSR Terminology | C53446 | PHYSICIST
FDA | C54585 | Occupation ICSR Terminology | C53424 | RADIOLOGIC TECHNOLOGIST
FDA | C54585 | Occupation ICSR Terminology | C53425 | RESPIRATORY THERAPIST
FDA | C54585 | Occupation ICSR Terminology | C53448 | RISK MANAGER
FDA | C54585 | Occupation ICSR Terminology | C53441 | SERVICE AND TESTING PERSONNEL
FDA | C54585 | Occupation ICSR Terminology | C53273 | SERVICE PERSONNEL
FDA | C54585 | Occupation ICSR Terminology | C19177 | SPEECH THERAPIST
FDA | C54585 | Occupation ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51804 | AUDIOLOGIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51960 | BIOMEDICAL ENGINEER
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53428 | DENTAL ASSISTANT
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53293 | DENTAL HYGIENIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C52654 | DENTIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53274 | DEVICE UNATTENDED
FDA | C54584 | Operator of Medical Device ICSR Terminology | C28248 | DIETICIAN
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53417 | EMERGENCY MEDICAL TECHNICIAN
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53287 | HEALTH CARE PROFESSIONAL
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53429 | HOME HEALTH AID
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53433 | HOSPITAL SERVICE TECHNICIAN
FDA | C54584 | Operator of Medical Device ICSR Terminology | C50913 | INVALID DATA
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53430 | MEDICAL ASSISTANT
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53442 | MEDICAL EQUIPMENT COMPANY TECHNICIAN OR REPRESENTATIVE
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53418 | MEDICAL TECHNOLOGIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54584 | Operator of Medical Device ICSR Terminology | C48660 | NOT APPLICABLE
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53419 | NUCLEAR MEDICINE TECHNOLOGIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C20821 | NURSE
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53431 | NURSING ASSISTANT
FDA | C54584 | Operator of Medical Device ICSR Terminology | C28174 | OCCUPATIONAL THERAPIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53272 | OPERATOR OF MEDICAL DEVICE
FDA | C54584 | Operator of Medical Device ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53427 | OTHER CAREGIVER
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53289 | OTHER HEALTH CARE PROFESSIONAL
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53420 | PARAMEDIC
FDA | C54584 | Operator of Medical Device ICSR Terminology | C16960 | PATIENT |  | LAY USER/PATIENT
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53432 | PATIENT FAMILY MEMBER OR FRIEND
FDA | C54584 | Operator of Medical Device ICSR Terminology | C51840 | PHARMACIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53421 | PHLEBOTOMIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53422 | PHYSICAL THERAPIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C25741 | PHYSICIAN
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53423 | PHYSICIAN ASSISTANT
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53446 | PHYSICIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53424 | RADIOLOGIC TECHNOLOGIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53425 | RESPIRATORY THERAPIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53448 | RISK MANAGER
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53441 | SERVICE AND TESTING PERSONNEL
FDA | C54584 | Operator of Medical Device ICSR Terminology | C53273 | SERVICE PERSONNEL
FDA | C54584 | Operator of Medical Device ICSR Terminology | C19177 | SPEECH THERAPIST
FDA | C54584 | Operator of Medical Device ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C99174 | Product Characteristic ICSR Terminology | C54696 | Combination Product
FDA | C99174 | Product Characteristic ICSR Terminology | C53629 | Device Evaluated by Manufacturer
FDA | C99174 | Product Characteristic ICSR Terminology | C54068 | Over-the-Counter Product
FDA | C99174 | Product Characteristic ICSR Terminology | C99176 | Pre-1938 Product
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C53601 | DEVICE EVALUATION ANTICIPATED BUT NOT YET BEGUN
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C53599 | DEVICE NOT MADE BY COMPANY
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C53600 | DEVICE PROBLEM ALREADY KNOWN NO EVALUATION NECESSARY
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C53598 | DEVICE RECEIVED IN CONDITION WHICH MADE ANALYSIS IMPOSSIBLE
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54593 | Reason for Non-Evaluation ICSR Terminology | C53593 | REASON FOR NON-EVALUATION
FDA | C54587 | Report Source ICSR Terminology | C15206 | CLINICAL STUDY
FDA | C54587 | Report Source ICSR Terminology | C51968 | COMPANY REPRESENTATIVE
FDA | C54587 | Report Source ICSR Terminology | C53568 | CONSUMER/CONCERNED CITIZEN
FDA | C54587 | Report Source ICSR Terminology | C48289 | DISTRIBUTOR
FDA | C54587 | Report Source ICSR Terminology | C25512 | FOREIGN
FDA | C54587 | Report Source ICSR Terminology | C53287 | HEALTH CARE PROFESSIONAL
FDA | C54587 | Report Source ICSR Terminology | C50913 | INVALID DATA
FDA | C54587 | Report Source ICSR Terminology | C48471 | LITERATURE
FDA | C54587 | Report Source ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54587 | Report Source ICSR Terminology | C53566 | REPORT SOURCE
FDA | C54587 | Report Source ICSR Terminology | C17998 | UNKNOWN |  | Unknown
FDA | C54587 | Report Source ICSR Terminology | C53567 | USER FACILITY
FDA | C99175 | Substance Administration ICSR Terminology | C53630 | Concomitant Therapy
FDA | C54580 | Type of Event ICSR Terminology | C41331 | ADVERSE EVENT
FDA | C54580 | Type of Event ICSR Terminology | C53054 | PRODUCT PROBLEM
FDA | C54580 | Type of Event ICSR Terminology | C103983 | Product Use Error
FDA | C54580 | Type of Event ICSR Terminology | C53053 | TYPE OF EVENT |  | TYPE OF REPORTABLE EVENT
FDA | C54592 | Type of Follow-Up ICSR Terminology | C53586 | ADDITIONAL INFORMATION
FDA | C54592 | Type of Follow-Up ICSR Terminology | C53585 | CORRECTION
FDA | C54592 | Type of Follow-Up ICSR Terminology | C53588 | DEVICE EVALUATION
FDA | C54592 | Type of Follow-Up ICSR Terminology | C53587 | RESPONSE TO FDA REQUEST
FDA | C54592 | Type of Follow-Up ICSR Terminology | C53584 | TYPE OF FOLLOW-UP
FDA | C54598 | Type of Manufacturer ICSR Terminology | C53618 | ORIGINAL EQUIPMENT MANUFACTURER
FDA | C54598 | Type of Manufacturer ICSR Terminology | C53614 | REPROCESSOR
FDA | C54598 | Type of Manufacturer ICSR Terminology | C54597 | TYPE OF MANUFACTURER
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53604 | INSPECTION
FDA | C54594 | Type of Remedial Action ICSR Terminology | C50913 | INVALID DATA
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53606 | MODIFICATION OR ADJUSTMENT
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53269 | NO INFORMATION |  | NO ANSWER PROVIDED
FDA | C54594 | Type of Remedial Action ICSR Terminology | C25297 | NOTIFICATION
FDA | C54594 | Type of Remedial Action ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53607 | PATIENT MONITORING
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53609 | RECALL
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53608 | RELABELING
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53611 | REPAIR
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53610 | REPLACEMENT
FDA | C54594 | Type of Remedial Action ICSR Terminology | C53603 | TYPE OF REMEDIAL ACTION
FDA | C54588 | Type of Report ICSR Terminology | C53580 | FDA REQUESTED
FDA | C54588 | Type of Report ICSR Terminology | C53576 | FIFTEEN-DAY
FDA | C54588 | Type of Report ICSR Terminology | C53573 | FIVE-DAY
FDA | C54588 | Type of Report ICSR Terminology | C53579 | FOLLOW-UP
FDA | C54588 | Type of Report ICSR Terminology | C53620 | INITIAL
FDA | C54588 | Type of Report ICSR Terminology | C53581 | MANUFACTURER RESPONSE TO VOLUNTARY REPORT
FDA | C54588 | Type of Report ICSR Terminology | C53578 | PERIODIC
FDA | C54588 | Type of Report ICSR Terminology | C53574 | SEVEN-DAY
FDA | C54588 | Type of Report ICSR Terminology | C53575 | TEN-DAY
FDA | C54588 | Type of Report ICSR Terminology | C53577 | THIRTY-DAY
FDA | C54588 | Type of Report ICSR Terminology | C53571 | TYPE OF REPORT |  | REPORT TYPE
FDA | C54591 | Type of Reportable Event ICSR Terminology | C28554 | DIED |  | EXPIRED/DEATH
FDA | C54591 | Type of Reportable Event ICSR Terminology | C25745 | FAILURE
FDA | C54591 | Type of Reportable Event ICSR Terminology | C60812 | MULTIPLE DEATHS AND SERIOUS INJURIES
FDA | C54591 | Type of Reportable Event ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54591 | Type of Reportable Event ICSR Terminology | C60811 | PEDIATRIC DEATH
FDA | C54591 | Type of Reportable Event ICSR Terminology | C53569 | SERIOUS INJURY
FDA | C54591 | Type of Reportable Event ICSR Terminology | C53053 | TYPE OF EVENT |  | TYPE OF REPORTABLE EVENT
FDA | C54596 | Type of Reporter ICSR Terminology | C53617 | IMPORTER
FDA | C54596 | Type of Reporter ICSR Terminology | C25392 | MANUFACTURER
FDA | C54596 | Type of Reporter ICSR Terminology | C17649 | OTHER |  | Other
FDA | C54596 | Type of Reporter ICSR Terminology | C42709 | Parent
FDA | C54596 | Type of Reporter ICSR Terminology | C16960 | PATIENT |  | LAY USER/PATIENT
FDA | C54596 | Type of Reporter ICSR Terminology | C53615 | TYPE OF REPORTER |  | REPORTER TYPE
FDA | C54596 | Type of Reporter ICSR Terminology | C53567 | USER FACILITY
FDA | C54596 | Type of Reporter ICSR Terminology | C102430 | Vaccine Provider
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105633 | Left Arm
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105634 | Left Deltoid
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105638 | Left Gluteus Medius
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105642 | Left Lower Forearm
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105632 | Left Thigh
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105640 | Left Vastus Lateralis
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105636 | Right Arm
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105635 | Right Deltoid
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105639 | Right Gluteus Medius
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105643 | Right Lower Forearm
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105637 | Right Thigh
FDA | C105691 | Vaccination Site on Body ICSR Terminology | C105641 | Right Vastus Lateralis